SOP DEFRA/02

STANDARD OPERATING PROCEDURE  FOR

HANDLING DEFRA PHL LICENSED MATERIAL IMPORTED INTO THE SCHOOL (SEES)

[0] This SOP refers to materials imported or held under the DEFRA Plant Health Licence PHL  52716/198178/4 hereafter referred to as the Licence, issued to SEES, University of Manchester, Williamson Building, Oxford Road, Manchester, M13 9PL.  This Licence is renewal/amendment of DEFRA Plant Health Licences 52716/198178/(3,2,1), 181A/6900 (10/2012) , 181A/6656 (10/2011), 181A/6464 (12/2010), 181A/6232 (12/2009), 181A/5995 (12/2008), 181/5763 (01/2008), 181/5435 (10/2006) and as amended 10 November 2006 and a replacement of PHL 181/4696(01/2004).

Hereafter in this SOP, any word in italics is defined as in the section [0].

The Persons Responsible for the materials imported under the Licence and under whose direct supervision these materials shall be kept are the persons so-designated by the Lead Person Responsible, Professor D A Polya.

The Designated Laboratories in which containment facilities the imported materials shall be held and used are given in Schedule 2 and the person i/c each of these rooms/laboratories are also given in Schedule 2.

A Letter of Authority is the letter of authority provided by DEFRA with the Licence.

DEFRA is used throughout to Department of Environment, Food and Rural Affairs.

[1] The person i/c of any room or laboratory designated as a DEFRA PHL Designated Laboratory shall place a notice in a prominent place outside the room/laboratory to clearly indicate that DEFRA PHL Licensed material may be held within that room/laboratory.

[2] The person i/c of any room or laboratory designated as a DEFRA PHL Designated Laboratory shall place a notice on any freezer, refrigerator or other storage in which DEFRA PHL licensed material is stored, that such material is stored there

[3] The person i/c of any room or laboratory designated as a DEFRA PHL Designated Laboratory will ensure that Class II Microbiological Cabinets or autoclaves for use with DEFRA PHL licensed materials are clearly marked as such and that an up-to-date maintenance certificate is available for inspection.

[4] In Room 1.18, a DEFRA PHL priority area will marked out and, if available, must be used for appropriate operations with DEFRA PHL licensed material.

[5] The person i/c any room or laboratory in which DEFRA PHL licensed material is being worked on, must display a notice to that effect in the laboratory.

[6] Before any soil, sediment, accompanying water samples, plants or plant material are imported by SEES personnel into the UK they should first: check with the DEFRA Plant Health Licence Persons Responsible to see whether or not importation under the DEFRA PHL is required by the Plant Health (Great Britain) Order 1993, ISBN 0110343204.

Our understanding from DEFRA personnel is that the following materials would require a DEFRA Plant Health Licence for importation into the UK:

(i) soils from outside of the European Union taken from a depth of less than 1 metre

(ii) soils from outside of the European Union taken from a depth of greater than 1 metre (i.e. deeper than the rhizosphere) AND containing heavy contamination from shallow (< 1 metre depth) soils from the rhizosphere (1000 ppm contamination is an indicative cut-off)

(iii) water samples from soils described by either (i) or (ii)

(iv) surface waters from outside of the European Union and which are heavily contaminated with soil or organic material (1000 ppm total suspended soil solids; 1000 ppm organic material are indicative cut-offs)

(v) seeds (in the botanical sense other than seeds not intended for planting), fruits (in the botanical sense but does not include dried, dehydrated, lacquered or deep frozen fruit), vegetables (other than those preserved by deep freezing), tubers, corms, bulbs, rhizomes, cut flowers, branches with foliage, cut trees retaining foliage, plants in tissue culture from outside of the European Union

The following items do not normally require a DEFRA PHL to be imported into the UK provided that they are for chemical and physical analysis and not to be used as a growing medium for plants or to be grown:

(i) rock samples from any depth provided that they are NOT heavily contaminated with shallow-depth derived organic matter or shallow (< 1 m) soils/sediment

(ii) soils and sediments taken from > 1 metre depth AND not heavily contaminated with shallow-depth derived organic matter or shallow (< 1 m) soils/sediment

(iii) soil samples from within the European Union

(iv) water samples that are not heavily contaminated with either shallow-depth derived organic matter or shallow (< 1 m) soils/sediment

(v) washed vegetables, rice and other cereals normally intended for human consumption and not heavily contaminated with shallow-depth derived organic matter or shallow (< 1 m) soils/sediments

Neither of these lists is comprehensive – for example, soil movement from certain areas within the European Union is prohibited, so DEFRA should be consulted if in any doubt.

[7] Any SEES personnel importing material under the DEFRA PHL must notify the Persons Responsible and receive training for the handling and containment of the DEFRA licenced materials.

[8] Any soil, sediment, accompanying waters, plants or plant material imported under the terms of this Licence must be contained in secure, closed containers during transit and be accompanied by a copy of the Letter of Authority as provided with the Licence.

[9] Imported material may only be unpackaged in one a DEFRA PHL Designated Laboratory as listed in Schedule 2.

[10] Any licensed material transported between DEFRA PHL Designated Laboratories must be contained within a double-layer.

[11] Any packaging material that may have come in contact with imported licensed material must be treated for the purposes of disinfection or disposal as imported licensed material.

[12] A summary of the licenced materials imported must be recorded and sent annually (by July 14th each year) and more frequently as required by DEFRA and/or the Lead Person Responsible to the Lead Person Responsible so that they can report to DEFRA and to The University as required. The summary information should include

(i): sample type; include depth of sample, nature and extend of any shallow-depth derived organic matter or shallow (< 1 m) soils/sediment contamination; and any procedures taken to avoid such contamination

(ii) site of collection (including country of origin),

(iii) date(s) of collection, number of samples;

(iv) sample weights;

(v) treatment;

(vi) disposal method;

(vii) location & nature of storage of non-disposed materials.

(viii) copy of phytosanitary certificate where relevant

(ix) license number & address of UK DEFRA PHL licensed facility from where materials have been transferred, where relevant

(x) list of all sub-samples numbers

(xi) confirmation that all samples have been labeled as “DEFRA PHL Licensed Material”, with the sample number and name of the person responsible clearly marked

[13] Soils and waters may only be used for chemical and physical analysis and under no circumstances may be used to grow plants.

If any soils, sediments or accompanying water samples, plants or plant materials are proposed to be used for growing plants or for isolating plant pathogenic fungi then a separate application for a further DEFRA licence may be required – in any event such use is prohibited until if and when such time as a suitable further DEFRA licence is obtained.

[14] All dry-grinding operations on DEFRA PHL licensed soils must be carried out within a certified Class II Microbiological Cabinet as listed in Schedule 3.

[15] When the activities for which the licenced material is required is complete, any licenced material which has not been subject to destructive chemical and/or physical analysis must be treated as follows:

(a)	(i)	Incineration OR

(ii)	Autoclaved. The minimum temperature and pressure at the centre of the load to be 121°C and 15 psi respectively. The autoclave to be loaded in accordance with the manufacturer’s instructions. Where available, a probe should be used to monitor temperature. Water samples may be evaporated to dryness or near dryness to reduce the volume of material required to be autoclaved where required. The operator must check that the autoclave has received a certificate of satisfactory operation within the past 12 months. At the time of writing, the designated autoclave to use for this purpose that used by FLS DEFRA PHL licensees in Room 1.403 of the Stopford Building. See Schedule 1 for list of contact persons.

- Following incineration or autoclaving, the remaining material should be disposed of at an authorized landfill or similar disposal site.

- All equipment and containment facilities used in association with the soil must be disinfected, using either a 1 % solution of Virkon or a 6 % solution of sodium hypochlorite.

[16] In the event of the discovery on the premises of any non-indigenous plant pest or pathogen, the Persons Responsible must be notified immediately.

[17] The authority given by this Licence shall be acknowledged and the licence number quoted in all publications related to work with soil imported under the terms of the Licence.

DAP 3 November 2014

Revision History. Written October 2006  Revised April 2007, July 2009, March 2010,  March 2011, November 2011, October 2012. December 2013, November 2014.

SCHEDULE of Key Persons, Equipment & Dates as of 18 October 2012

Note that inclusion of certain facilities [see Schedule 6] may be subject to further DEFRA approval.

SCHEDULE 1 Key Persons

Lead Responsible Person 				Professor David Polya

Named Further Person Responsible			Dr Clare Robinson

SEES Head of School					Professor Hugh Coe

Chair, SEES Health & Safety Committee		Dr Richard Cutting (until 8th Dec 2014)

Cath Davies (from 8th Dec 2014)

i/c FLS Autoclave Facility				Dr Jill Hayes

FLS DEFRA PHL Lead Responsible Person		Dr Thomas Nuhse

SCHEDULE 2 Designated Laboratories: Local Lab Manager &Academic Responsible

Williamson B21		Dr Filipa Cox				Dr Clare Robinson

Williamson B26		Chris Boothman			Professor Jon Lloyd

Williamson B29		Chris Boothman			Dr Bart van Dongen

Williamson B30		Chris Boothman			Professor Jon Lloyd

Williamson 1.18		Dr Karen Theis			Professor David Polya

Williamson 1.22		Dr Steve Boult				Dr Steve Boult

Williamson 1.25A		Alastair Bewsher			Professor David Polya

Williamson 1.25B		Dr Bart van Dongen			Professor David Polya

Williamson 1.25C		Dr Bart van Dongen			Professor David Polya

Williamson 1.27		Paul Lythgoe				Professor David Polya

SCHEDULE 3 Equipment for Which Maintenance Records Required to be Checked

Autoclave I		Stopford 1.403				DH11966

Autoclave II		Stopford 1.403				DH11968

Class 2 Cabinet	Williamson B.21				No. 124

Class 2 Cabinet	Williamson B.26				No. SC12R-322

SCHEDULE 4 DEFRA Priority Areas within Designated Laboratories

Williamson 1.18	Work Space					DEFRA-PA-1

Williamson 1.22	Freezer	 (Chest)				DEFRA-PA-2

Williamson B.29	Freezer (Chest)				DEFRA-PA-3

Williamson B.21	Freezer(Chest)					DEFRA-PA-4

SCHEDULE 5 Action Dates

For Lead Person Responsible

November	[1] Notification of DEFRA to PHL Head of School

November	[2] Circulation to all those working with DEFRA licensed materials

September	[4] Solicit records from responsible persons

September	[5] Solicit records from laboratory managers

September	[6] Solicit records from laboratory manager re equipment

September	[7] Solicit confirmation of continued validity of FLS DEFRA PHL

September 	[8] Bi-Annual inspection

September	[10,11] License renewal request with appropriate records sent to DEFRA

July		[1] Notification of DEFRA PHL Head of School

July		[2] Circulation to all those working with DEFRA licensed materials

July		[4] Solicit records from responsible persons

July		[5] Solicit records from laboratory managers

July		[6] Solicit records from laboratory manager re equipment

July	 	[8] Bi-Annual inspection

For (Other) Persons Responsible

September	[12] Provide Lead Person Responsible with Update Information on Samples

SCHEDULE 6 Items Awaiting Further Approval from DEFRA PHL

None.