Risk Assessment for Microwaves Ovens

| Date: 05/02/09 | Assessed by: Katharine Sullivan | Checked / Validated by: | Location: FLS laboratories | Assessment ref no | Review date: February 2011 |
| --- | --- | --- | --- | --- | --- |
| Task / premises: Heating up growth medium in laboratory or domestic microwave ovens. |  |  |  |  |  |

| Activity | Hazard | Who might be harmed and how | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Heating growth medium | Electrical | Operator | Visual inspection by users checking for damage. The microwave should be PAT inline with University of Manchester guidance. | Low | A |
|  | Burns | Operator, other labs users | PPE of Heat proof gloves required when removing hot items from the microwave oven. | Low | A |
|  | Non ionising radiation | Operator, other labs users | The microwave oven will be undamaged, door seals are in good condition and interlocks are working. Routine checks will be made to: - Identify damage to the inner walls and door seals. - Make sure the doors close properly and are not misaligned or warped - Make sure hinges and door latches are not broken or loose. - Make sure the door closes properly and the oven switches off when it is opened. If users want radiation leakage testing of microwave ovens please contact Katharine Sullivan | Low | A |