MANDATORY

Local Rules: The Department of chemistry

# Ionising Radiations Regulations 2017: Regulation 18

# LOCAL Rules fOR THE uSE OF uNSEALED rADIOACTIVE mATERIALS (U/ Th) in Chemistry RESEARCH

All persons (including visiting research workers) engaged in full-time (or similar) research or teaching programmes must register with the RSU prior to working with sources of ionising radiation. Exceptions included users of cabinet X-ray generators, persons using schools type radioactive sources, undergraduates and their supervisors ‘working’ in laboratory classes, certain post-graduate short course classes

| School of Natural Sciences, Department of Chemistry | These local rules apply to all areas within the Chemistry Building |
| --- | --- |
| Radiation Protection Supervisor (RPS) ACoP 336(c) | Departmental RPS: XXXX Dalton Nuclear Institute, UOM Address Local RPS: Dr XXXX. Room XXXX, Chemistry Building. Check local web pages for phone numbers |
| University Radiation Safety Unit (RSU) | Ian Haslam (Head of Radiological Safety) Hamza Al-Qasmi (Radiation Protection Technical Adviser) Katharine Sullivan (Dosimetry and technical support) e-mail: radiation @manchester.ac.uk |
| Radiation Protection Adviser & Radioactive Waste Adviser (RPA / RWA) ACoP 337(i) | Public Health England; David Wilson (general site RPA/RWA) Jacobs Clean Energy; Gordon John & Nigel Reeves (specialist nuclear RPA/RWA) To contact an RPA or RWA firstly discuss your enquiry with the RSU. The RSU need to manage and collate all contacts and requests for assistance, then keep a log of all responses. |
| Emergency contact | In the event of an emergency contact the University Security Service at Precinct Control Room (PCR). 52728 or 69966 PCR will put you in touch with an Emergency Incident Manager. |
| Lost or stolen radioactive source (or suspected loss or theft) | Contact the RSU. If unavailable contact the Environment Agency incident hotline without delay on 0800 80 70 60 (24 hour service) and the PCR. The Environment Agency representative receiving your call will ask for brief details, your name and a contact phone number. They will also ask for the location of the event / incident so be precise (University Building and Street name). Give the contact details of the RSU. Do not put the Environment Agency in contact with the RPA. It is the University’s responsibility to resolve accidents, theft or loss of materials. |

| Management and supervision of work ACoP 336(e) | Radiation Protection Supervisors The radiation protection management system (University of Manchester Arrangements Chapter 4 and 25) are ‘top level’ document approved by the Wellbeing, Safety and Health Committee. The status of Chapter 25 is MANDATORY. The status of the local rules is STATUTORY. Radiation workers, supervisors and role holders must comply with the requirements of these local rules. The RPS is a role defined in legislation and their remit is to assist the ‘radiation employer’ in ensuring that work in designated areas is undertaken in compliance with: - all relevant statutory requirements, in particular the Ionising Radiations Regulations 2017 (IRR17: www.hse.gov.uk/pubns/priced/l121.pdf), the Environmental Permitting (England and Wales) Regulations 2016 (EPR) - the local rules (IRR17; Reg 18), and, - any other local instructions. Where the deputies and assistants have been appointed it is should be assumed that they have delegated authority. |
| --- | --- |
|  | The purpose of local rules is to summarise the essential points of the management system. This means that if workers comply with local rules and local instructions they will be working safely and they will be compliant with all other measures. The Departmental RPS is responsible for: oversight of radiation protection arrangements; management of Local Rules and Radiological Risk Assessments control of isotope imports and exports; provision of advice as required. The Local RPS is responsible for: day-to-day radiological protection and advice; management of SOPs; sealed source accounting; management of area and personnel monitoring; dosimeter issue; management of nuclear and radioactive materials, including reporting nuclear materials accountancy data; management of waste disposals; control of routine isotope imports and exports; seeking advice as necessary. Appendix 1 shows the document hierarchy for these activities. |
| Controlled Area [Areas of a potential high contamination or dose exposure risk] ACoP 336(d), 336(e) & 337(i), 337(f) | Department of XXXX Radioisotope Store This store is for the storage and dispensing of U/Th radiochemical powdered stocks (e.g. UO3, UO2, uranium and thorium salts), as well as storage of other radionuclides and sealed sources that are currently not routinely used. Related Protocols and written systems of work SOP 15: Protocol for Access to the Radioactive Materials Store SOP 1 General Radiochemistry Procedures_V1.4 Access to the store is controlled by both card and key access. Only people authorised by the Head of Department have card access and the local RPS holds the keys to the store and acts as a gatekeeper to the stores. Users without card access to the stores must be accompanied in the stores by a card holder. |
| Designated Supervised Area [Area where there is a risk of contamination arising and being spread] ACoP 336(d), 336(e) & 337(i), 337(f) | Room xxxx Instrument Room This room contains counting instrumentation. Experimental work is not permitted in this room, nor is the opening or manipulation of samples. All samples must be prepared and sealed (and the sample vessel walls checked for external contamination) in labs prior to transfer to room xxx. Brief description of work Liquid Scintillation counting Related protocols SOP 1 General Radiochemistry Procedures_V1.2 Who / how is work in this area managed & supervised Access is granted and controlled by the Local RPS who holds the keys to the room. Users arrange a time to use the instrumentation and following local training can use it unattended. |
| Designated Supervised Area [Area where there is a risk of contamination arising and being spread] ACoP 336(d), 336(e) & 337(i), 337(f) | Room xxxx U/Th Labs Brief description of work For the handling of open sources of uranium and thorium for the use in chemistry research. It is expected that novel techniques and experiments will be performed but in each case a radiological and chemical risk assessment should be carried out prior to work and these should be reviewed at least on an annual basis. Related protocols SOP 1 General Radiochemistry Procedures SOP 2 Managing Radioactive Materials Who / how is work in this area managed & supervised The Principal investigators for work in these labs are XXXX (room) and XXXX (room). They have a series of SOPs which control the methods of work, and any work is approved by the PI or a nominated deputy (i.e PDRA or E.O). A diagram to show outline of document ownership and hierarchy is shown at the end of these local rules. |
| Associated area (non-designated) ACoP 336(d), 336(e) & 337(i), 337(f) | X-ray diffraction suite (B23) X-ray crystallography on contained samples. Who / how is work in this area managed & supervised Users take the minimal amount of sample, appropriately contained, needed to the X-ray lab prior to experiment taking place. No manipulation of radioactive material in the diffraction suite is permitted. During experimentation signs are used to warn others of radioactive samples present. Following completion of work the samples are returned to 3.15 or 5.52. |
| Associated area (non-designated) ACoP 336(d), 336(e) & 337(i), 337(f) | Room xxxx NMR spectroscopic measurements on contained samples. Who / how is work in this area managed & supervised Users prepare their sample in Room xxxx and take the sample appropriately contained to the NMR suite. No manipulation of radioactive material in the NMR suite is permitted. No radioactive samples are left unattended during or after experimentation. Following completion of work the samples are returned to Room xxxx. |
| Associated area (non-designated) ACoP 336(d), 336(e) & 337(i), 337(f) | Room xxxx Luminescence spectroscopy on contained samples. Who / how is work in this area managed & supervised XXXX is the PI for the equipment contained in Room xxxx. SOPS have been developed for this equipment and any work approved by LN or a nominated deputy (i.e PDRA). Excess material/samples are stored in Room xxxx. |
| Associated area (non-designated) ACoP 336(d), 336(e) & 337(i), 337(f) | Photon Science Institute Room xxxx Luminescence spectroscopy Room xxxx EPR and magnetometry laboratory, including National EPR Facilities Who / how is work in this area managed & supervised These rooms contain analytical instrumentation. Experimental work is not permitted in this room, nor is the opening or manipulation of samples. All samples must be prepared and sealed (and the sample vessel walls checked for external contamination) in labs prior to transfer. Sample transport protocols are present and should be followed. Note that Local Rules for the Photon Science institute are being updated at the time of writing (June 2020) and this section will be revised once that exercise is complete Related protocols SOP 10 Transport and Handling of Low Quantities of U/Th Samples for EPR/SQUID |
| Authorised access to radiation laboratories | The only persons permitted to enter Controlled and Supervised Areas are: - radiation workers who are registered with the Radiation Safety Unit, - persons specifically authorised by the Departmental or Local RPS, - service engineers, maintenance contractors, Estates Services personnel (plumbers, electricians, cleaners, etc.) who have received clearance to enter and carry out works, have exchanged local rules and / or permits to work and method statements, and who must make arrangements to enter with the RPS or Local RPS. - Department of Chemistry health and safety personnel - line managers. |
| Radiation dosimetry ACoP 337(d) | RSU will advise on the use of radiation dosimetry. The primary hazard for work carried out in the Chemistry building is low level alpha emitting U/Th samples. Local shielding and adequate ventilation can mitigate risks or radiation doses. Personal whole body dosimeters (chest badges) will be provided to each radiation worker. Routine work in the Chemistry building does not require finger-stall dosimeters but these can be requested by workers where necessary for work performed in other buildings on campus or at other institutions - Exceptions include persons using small quantities of exempt radioactive materials, schools ‘type’ sealed sources and (interlocked) cabinet x-ray generators or x-ray systems where it has been determined that there is no likelihood of doses exceeding 1 mSv/y. |
| Dose investigation or other trigger limits ACoP 336(a), 337(d) | Where there is a requirement to wear dosimeters, dosimetry records will be received by the RSU from the provider (Public Health England). Whole body and extremity dose triggers are 1 mSv/y and 10 mSv/y respectively. Personal dosimeters are to be worn when doing U/Th work because, while these are not likely to pick up alpha contamination, they are sensitive to the beta/gamma emissions from decay products in U/Th. Regular surface monitoring is done in work areas and any areas of high does contamination should be assessed individually to estimate any does received to the user. A method for this estimation is provided by RSU. At these trigger values a note is made on the Event (incident) database so that doses can be identified and investigated to determine the cause, with feedback being given to the RPS. The primary aim of these low dose investigations is to determine whether the cause is a one-off event, the failure of a safety feature or shielding, or a behavioural matter. At doses of 1 mSv to the whole body (the public dose limit) and 10 mSv to the extremities the investigation the investigation will also consider the risk of exposure (or potential for exposure) of members of the public including undergraduate students, pregnant or breastfeeding persons, and the need to thoroughly investigate working practices. The RPA will be notified. |
| Working instructions (general) ACoP 336(e) | Local rules apply to all designated Controlled and Supervised Areas. Controlled Areas are Isotope Stores. Supervised Areas are Room xxxx and Room xxxx. Other areas (Room xxxx) are non-designated areas but where relevant Local rules should be adhered to when using radioactive materials. Academic units must ensure that, where appropriate, their local rules must be supported by (local) specific written instructions or Standard Operating Procedures (e.g. for waste disposal) and experimental protocols (e.g. for specific detailed procedures), and other locally created instructions / protocols such as laboratory manuals. See Appendix 1 for hierarchy of document control and ownership. In particular the following must be prepared by academic units, and all radiation workers must have read and be familiar with the content of these: - Generic Radiological Risk Assessments and CRR Standard Operating Protocols are available on the CRR intranet: http://www.ssnet.chemistry.manchester.ac.uk/health-and-safety/centre-for-radiochemisty-research-safety/ - Department of Chemistry Procedures and Methods can be found : http://www.ssnet.chemistry.manchester.ac.uk/health-and-safety/procedure-and-methods/ - Research group protocols and chemical risk assessments are generated and stored locally. - Source accountancy arrangements, : see SOP 2 Managing Radioactive Materials V1.3 |
| Working instructions (risk assessment). ACoP 337(f) | An overarching radiological risk assessment approved by the radiation safety unit is used to assess radiation risks during routine U/ Th work. These local rules have summarised the control measures, but the worker and their line manager must also read and understand the relevant risk assessments and CRR standard operating protocols to ensure the appropriate control measures are implemented in the area to which these local rules refer. |
| Working instructions (handling sources). ACoP 336(e), 336(f) | Work with unsealed radioactive sources should be carried out inside a fumehood or inside an enclosed glovebox. Where this is not possible a suitable risk assessment must be done and approved by the RPS or Local RPS. - Samples and must be held in sealed vessels when not in use e.g. glass jars, plastic pot, schlenk tube. - Radioactive sources kept in the isotope stores must at all times be held in a suitably secure container (e.g. Nalgene bottles). - U/Th powder sources kept in the isotope stores can be opened in the isotope stores on a work tray when there is no risk of volatile components being released or dusts generated. If there are risks of generating dusts or volatile material then the source should be moved to Room xxxx prior to opening and only opened in a fumehood or glovebox. - Techniques should be rehearsed until familiar so as to minimise the duration of time activity is handled. |
| Contamination monitoring ACoP 337(b) | Manipulations of U/ Th stocks in Room xxxx should be done inside a glovebox or fume hood. Work areas should be monitored before and after work and frequently during work. Decontaminate / remove any spillages or spots of contamination as soon as they are found. - Each active laboratory will have its own regular monitoring regime which must be adhered to. See SOP 1 General Radiochemistry Procedures_V1.2 |
| Working instructions (storage of sources in isotope stores). ACoP 336(e), 336(f) | In all cases: - Sources and materials should be contained e.g. using proprietary source containers and / or shielded boxes, which if necessary should themselves be held in sealable plastic containers or bags. It may be necessary to provide additional lead shielding around sources to reduce dose rates to <0.5 µSv/h. All materials must be labelled with a minimum of the radionuclide, chemical name and the id number (IS number). |
| Working instructions (movement and transport of sources). ACoP 336(e), 336(f) | Radioactive materials must be transported, i.e. moved between labs and to / from storage in a suitable non-breakable container (e.g Nalgene pot) and additionally a secondary containment used in case of failure. Glass vessels do not count as containment. Any containment should be capable of withstanding impact and remain intact if dropped. - Relevant protocols can be found: http://www.ssnet.chemistry.manchester.ac.uk/media/eps/chemistry-intranet/health-and-safety/documents/SOP-2---Managing-Radioactive-Materials-v1.3.pdft and SOP 10 Transport and Handling of Low Quantities of U/Th Samples for EPR/SQUID and https://www.staffnet.manchester.ac.uk/rsu/ionising-radiation/transport-radioactive-materials/ |
| Local arrangements for dealing with radioactive waste. ACoP 336(e), 336(f) | Solid waste must be collected in black sacks / bin bags and not in “tiger” sacks. All waste should be double bagged and disposed of into waste streams that are destined for landfill. Limits of activity per waste bag/ waste item are described in SOP 2 and must be adhered to. There are sinks designated for disposal of permitted liquid radioactive waste in each of 3.15 and 5.52. Prior to disposal liquid waste must be kept in appropriately vented bottles in a designated space until sanctioned for disposal. Incompatible waste must not be mixed in a waste container. All waste containers must be labelled and referenced so that their contents are known and traceable to the original stock records. The Local RPS or a local person nominated by the Local RPS should be informed when a final waste disposal is performed to ensure all record keeping is done and that no site limits are exceeded. - Further details on waste disposal can be found in SOP 2 Managing Radioactive Materials V1.3 |
| Arrangements for the ordering and collection of radioactive sources ACoP 336(e), 336(f) | Written permission to purchase, acquire or ‘borrow’ radioactive materials must be received from RSU, and also the Departmental RPS, and Head of Department. The form that must be used to acquire actinides (including uranium and thorium) and other radionuclides can be found at www.staffnet.manchester.ac.uk/rsu/ionising-radiation/acquisitions-of-actinides/ Radioactive materials must be delivered to a designated delivery point. The Local RPS must be contacted for details of the approved delivery address. After delivery is complete the Departmental RPS or Local RPS should log the source into the records and store securely as soon as reasonably practical. |
| Personal Protective Equipment (PPE) ACoP 336(e), 336(f) | Personal protective equipment such as laboratory coats, lab specs and (nitrile) gloves must always be worn when working in radiation labs or handling radioactive waste. |
| Leaving radiation laboratories ACoP 336(e), 336(f) | Remove gloves and lab coats, taking care not to touch the external surfaces of gloves. Wash your hands. |
| Contamination monitoring (repeated from above) ACoP 337(b) | Manipulations of U/ Th stocks in Room xxxx should be done inside a glovebox or fume hood. Work areas should be monitored before and after work and frequently during work. Decontaminate / remove any spillages or spots of contamination as soon as they are found. Each active laboratory will have its own regular monitoring regime which must be adhered to. See SOP 1 General Radiochemistry Procedures_V1.2 |
| Maintenance, testing and inspection ACoP 337(a) | The Local RPS should ensure that designated areas are thoroughly inspected and monitored for contamination on a weekly basis to ensure that - the area is free from contamination, - the facility is well managed and free from defect, and, - that any safety features, PPE, shielding, etc. are in good condition. - Ventilation systems and other infrastructure are checked regularly by Estates. The results of these checks should be recorded. Estates will record infrastructure records. Monitoring regimes are described in SOP 1: |
| Pregnant and breast feeding staff ACoP 337(e) | Your work is highly unlikely to expose you to hazardous levels of radiation and the safety measures already specified in these local rules will provide sufficient protection. The following HSE guide provides good information http://www.hse.gov.uk/pubns/indg334.pdf, and the Head of Radiological Protection will be able to give further confidential advice if you are still worried. |
| Procedures for initiating investigations ACoP 337(h) | Small contamination events do occur in radiation labs, mostly involving small splashes or aerosols that contaminate the radiation workstation or adjacent benches. Where these are detected by the worker, they should be cleaned up with Decon® (or similar; further instructions are given in the SOPs: SOP 1 and SOP 2). Providing that there is no residual contamination these events do not need reporting. Where incidents occur that involve the contamination of clothing, spillage of large volumes or activities, or more widespread contamination the worker should follow the contingency plans below and notify the RPS. The RPS will then initiate any investigations and make a report on the University Health and Safety on-line accident reporting system www.healthandsafety.manchester.ac.uk/toolkits/accidents/reporting |

### Contingency Plan for U/Th WORK in the chemistry building

This is a contingency plan in the event of an incident involving U/Th work in the chemistry building. This can cover fire, chemical spill and chemical contamination. For routine U/Th work the chemical hazard that is a greater risk to health than the radiological risk. Please consult the relevant Chemical Risk Assessment for additional advice.

Do Not Panic. Verbally warn anyone else in the laboratory. Remain where you are and don’t walk around more than is necessary.

If a fire is present then consult the chemical risk assessment for a suitable fire extinguishing medium and if you feel able and confident to do so attempt to extinguish the fire. If in doubt raise the nearest alarm to allow evacuation of the area.

Deal with life threatening conditions first: summon someone trained in First Aid if necessary.

Stabilise the Situation: without exposing yourself to further risk, take simple measures to prevent any spillages from worsening. For example, use thick wads of paper towel, absorbent granules (e.g. cat litter) to circle and cover spillages to prevent them from spreading. If a radioactive spill kit is available, this can be used to help tidy the spill area.

If any chemical has spilled onto your skin then rinse with copious diphoterine as quickly as possible. If a spill has contacted the eyes or a large amount has spilled onto the face/head areas then use eye wash or emergency shower.

Monitor yourself: using an appropriate radiation monitor check yourself (skin, hair, and clothing) for contamination. If your laboratory coat is contaminated take it off and place in a waste bag or out of the way on the floor. Wash your hands thoroughly. If your hair or clothing is contaminated do not panic, you have plenty of time to take action.

Prevent Access: prevent anyone else from coming into laboratory unless they are there to help.

Get help: can another radiation worker in your laboratory help you? Also contact your RPS or the Responsible Person for the laboratory, or failing that the Radiation Safety Unit.

Evacuate: all work should cease and non-essential workers should leave the laboratory.

Monitor Yourself Again: carry out a thorough contamination check of yourself. Remove any contaminated clothing (within decency) and place in a pile for later inspection. If your skin is contaminated, wash with mild soap and water. Keep washing and monitoring until the skin is thoroughly decontaminated, or until no further contamination can be removed. If contamination remains, contact the Radiation Safety Unit for further advice. If larger areas of skin, e.g. the arms, legs or trunk of the body have become contaminated it will probably be necessary to shower if not already done. Never use scrubbing brushes, exfoliants or solvents to remove contamination.

Working with your Radiation Protection Supervisor use a radiation monitor to identify any contaminated areas or equipment. Check the benches, floors, walls, workstations, cupboards, chairs, sinks, taps, door handles, computer keyboards, equipment, etc. Decontaminate using appropriate agents.

| Nature of the surface | Decontamination agent |
| --- | --- |
| Floors, bench tops, safety screens, plastics, paintwork | Detergents such as Decon |
| Metal tools and trays | Dilute acids e.g. sulphuric acid |
| Glassware | Alkaline detergents, or chelating agents e.g. EDTA |
| Plastics | Dilute nitric acid (do not use ketonic solvents) |

All solid waste (paper towels, swabs, absorbent materials, and contaminated items) should be placed in waste bags. Aqueous waste should be disposed of via the designated sink. (Deface any trefoil signs before putting them in the waste bags.)

If contamination remains after cleaning contact the Radiation Safety Unit for further advice.

After the incident has been satisfactorily dealt with you will need to help your Radiation Protection Supervisor to write a report on what happened, which report should be filed on the health and safety accident reporting system.

RPSs must ensure these contingency plans are appropriate for their areas, editing and augmenting the content where appropriate

| ### Contacts |  |
| --- | --- |
| #### Radiation Protection Supervisor (RPS) Reg 18, ACoP 336(c) | Name XXX Deputy RPS? nameXXX Contact numbers will be held on local secure web pages / grab cards etc. Contact numbers may also be on laboratory notice boards etc. |
| #### University Radiation Safety Unit (RSU) | Ian Haslam (Head of Radiological Protection) Hamza Al-Qasmi (Radiation Protection Technical Adviser) E: radiation@manchester.ac.uk |
| #### Radiation Protection Adviser Reg 18, ACoP 337(i) | UK Health Security Agency; David Wilson (general campus RPA / RWA) To contact an RPA first discuss your enquiry with the RSU who will further advise. The RSU need to manage and collate all contacts and requests for assistance, and keep a log of all advise requested and received. The RPA is not appointed as an emergency contact or to initiate contingency actions, which are the responsibility of the School, who must have plans that are periodically rehearsed. |
| Check your local fileserver / Departmental web pages and RPS for more relevant / specialized contingency plans and emergency actions that may address specific local / complex accident scenarios. |  |

| ### GENERIC Contingency actions |  |  |
| --- | --- | --- |
| 1 | ##### Do Not Panic, stay calm and collected - Even spills and splashes on the skin can be effectively dealt with by simple actions. - Verbally warn anyone else in the laboratory. If you think your skin, clothing or shoes have been contaminated remain where you are and don’t walk around. |  |
|  |  | If you think your skin, clothing or shoes have been contaminated remain where you are and don’t walk around. |
| 2 | ##### Deal with life threatening conditions first - Summon a first responded or someone trained in First Aid to help if necessary. - Shout for help. Get another radiation worker to help you. |  |
|  |  | Get help. |
| 3 | ##### Stabilise the Situation - Without exposing yourself to further risk, take simple measures to prevent any spillages from worsening. For example, use thick wads of paper towel, absorbent granules (e.g. cat litter) to circle / surround and cover spillages to prevent them from spreading. If the spillage large or over a wide area place a lab coat over to spill to absorb the spill and stop it spreading. - If a spillage of powder that could become suspended in the air dampen by covering with moistened paper towels. |  |
|  |  | Use thick wads of paper towel, absorbent granules to circle and cover spillages to prevent them from spreading or powders being suspended. |
| 4 | ##### Monitor yourself - Get a colleague to use an appropriate contamination monitor to check your (skin, hair, and clothing) for contamination. If your laboratory coat, clothing or shoes are contaminated take them off and place in a waste bag or out of the way on the floor. Wash your hands thoroughly. If your hair is contaminated do not panic, you have plenty of time to act. |  |
|  |  | Wash your hands. Use a contamination monitors to check your skin, clothes, shoes, hair. Wash your hands again. |
| 5 | ##### Close the lab - Prevent anyone else from coming into laboratory unless they are there to help. Get someone to put a warning on the door-marker pen, piece of paper, blu-tack. |  |
|  |  | Prevent access. |

| 6 | ##### Decontaminate yourself Wear a spare lab coat if your clothes have been contaminated, overshoes on bare feet if your shoes are contaminated and it can’t be wiped off. Use a shower (best) or drench and soap to decontaminate the skin. DO NOT abrade or scour / use scrubbing brushes on your skin, or, use exfoliants. Wash until clean or contamination can no longer be removed. Get someone to contact RSU if you have contaminated yourself. |  |
| --- | --- | --- |
|  |  | Wash with water and soap, do not break the skin. |
| 7 | ##### Get practical help for decontamination - Can another radiation worker in your laboratory or nearby help you? Also, contact your RPS or the Responsible Person for the laboratory. Contact RSU. - Decontaminate the floor. If necessary use Benchkote to make a safe walkway from which to check for contamination and decontaminate. Use copious quantities of Decon or similar detergent, mopping up with paper towels. Put all waste in double black waste sacks. - Check you have an appropriate monitor; are the batteries are ok and is the monitor? - Keep monitoring and decontaminating until the monitor is reading background. - If the monitor doesn’t read background, decontaminate until the reading is stable and there is no contamination on the towels. Mark the area of spillage (in non-permanent marker). Cover with Benchkote. Address later with RSU. - Once the floor is declared clear repeat for benches and other surfaces. - Ensure that door handles, taps, sinks, walls etc. are free from contamination. |  |
|  |  | Monitor & decontaminate. Contact RSU. |
| 8 | ##### Evacuate - For all but minor spillages on benches or a small amount of floor, all work should cease and non-essential workers should leave the laboratory. - In cases of widespread, sever or complex contamination: post warning signs and, trefoils and / or radioactive hazard warning tape on / across the door. Close the laboratory. Contact RSU, the RPS(s) and Compliance & Risk Manager. The laboratory will need to be thoroughly surveyed and permission from RSU received before it can be re-opened. |  |
|  |  | If necessary evacuate and contact RSU for a room contamination survey. |
| 9 | ##### Monitor Yourself Again Carry out a colleague to carry out a thorough contamination check of yourself…again! |  |
|  |  | Monitor again! |
| 10 | ##### How do you feel Many people will be shaken. Do you need further medical help or to see Occupational Health? Do you wish to go home or find a friend? Do you need reassurance? |  |
|  |  | Need further help? |

| ### Decontamination and waste |  |
| --- | --- |
| ##### Surfaces and labware |  |
| Floors, bench tops, safety screens, plastics, paintwork | Detergents such as Decon |
| Metal tools and trays | Dilute acids e.g. sulphuric acid |
| Glassware | Alkaline detergents, or chelating agents e.g. EDTA |
| Plastics | Dilute nitric acid (do not use ketonic solvents) |
| ##### Waste - All solid waste (paper towels, swabs, absorbent materials, and contaminated items) should be placed in lab waste bags. - Quantities of solid waste will need to be monitored or otherwise checked to ensure waste disposal limits are not breached. Then solid waste must be disposed of as VLLW - the RPS must make the necessary arrangements. - Deface any trefoil signs before putting them in the waste bags. - Aqueous waste must be disposed of via the designated sin. |  |
| - If contamination remains after cleaning contact the Radiation Safety Unit for further advice. |  |
| - After the incident has been satisfactorily dealt with you will need to help your Radiation Protection Supervisor to write a report on what happened, which report should be filed on the Events database, see www.healthandsafety.manchester.ac.uk/toolkits/accidents/reporting/ |  |

| ### Emergency planning and contingency arrangements: the statutory position |  |
| --- | --- |
| ##### Reason for planning ACoP 240 | The reason for having a plan is because there is a reasonably foreseeable possibility of; (c) contamination being spread from supervised areas; (f) user error, i.e. correct procedures not being followed; (g) the likelihood of loss or theft or radioactive material. |
| ##### Reasons for planning ACoP 70 & 71 | The specific scenarios requiring contingency planning arise from the risk assessments, which the reader must consult. |
| ##### Consultation with the emergency services ACoP 240 | There has been no reason to consult emergency services as resulting exposures will have very low consequences due to the activities and nature of materials in use. High consequence fires have previously been experienced in fume cupboards and laboratories, however the significant quantities of material are not held or used, significant being events that could lead to exposures exceeding limits for members of the public (i.e. 1 mSv). |
| ##### Who is responsible for putting the plan into effect ACoP 244(a) | The Radiation Protection Supervisor (RPS), or if not available the laboratory worker, manager or the first person on the scene. |
| ##### What must be done to assess the seriousness of the situation ##### ACoP 244(b) | Ideally the RPS, if present, should ascertain whether there is a minor spillage or release of suspendable powders / solids, e.g. a bench top spill, a more serious spillage onto the floor or potentially widespread contamination event. |
| ##### What immediate mitigating actions are necessary ##### ACoP 244(c) | Visual inspection looking for obvious clues such as liquids, solids and contamination monitoring. |
| ##### What emergency equipment is required and where is it ##### ACoP 244(d & f) | PPE - gloves, paper towels or blue roll, disposable overshoes, Decon or similar detergent. Radiation monitoring equipment. |
| ##### Other information e.g. manufacturers guidance ##### ACoP 244(e) | Information supplied with radioactive sources should be held in lab files. |
| ##### What are the personal dosimetry requirements for responders ##### ACoP 244(g) | Dosimeters must be worn if issued, which would be determined by prior risk assessment. The only ‘hands on’ responders should be radiation workers. Doses should be low and most likely below public dose limits. |
| ##### What training is required ##### ACoP 244(h) | All radiation workers must be trained in emergency procedures as part of their radiation laboratory training. |
| ##### Where to go for expert help ##### ACoP 244(i) | Radiation Safety Unit (RSU). |
| When do you need to contact emergency (or other) outside help ACoP 244(j) | Beyond the RSU, the RPA is available to assist with post-emergency actions, though not with the implementation of emergency actions. |
| What dosimetry follow-up is required ACoP 244(k) | None. |
| ##### What dosemeters should be used ACoP 245 | TLD dosimeters are supplied by Public Health England (PHE) |
| ##### What radiation monitoring equipment should be used | Geiger-Muller or scintillation monitors such as the Mini Instruments type 900 EP15 or Mini Instruments type 900 fitted with a type 44 probe for beta and gamma / electron capture emitters respectively. Other versions are acceptable. |

- Appendix 1.

- Below is a diagram showing document hierarchy and ownership.