## Equipment
GEIC Equipment No. | Name | Make/Model | GEIC Loc. | Quantity. | Status
G01 | Pilot scale coating line | Mathis / KTF S 350 | G.012.A | 1 | Commissioning
G02 | Laboratory gas-liquid displacement Porometer Multilux | Porometer NV/Poroliq 1000 | G.010.D | 1
G03 | Hollow Fibre Coater | TITAN/ Convergance Inspector | G.012.D | 1
G04a | Centrifuge | Hitachi/ Cr22N 2200rpm | Various Labs | 4
G04b | Centrifuge | Ependorf/ 5804R 14000rpm | Various Labs | 3
G04c | Centrifuge | Sigma / 3-30KS 30000rpm | Various Labs | 3
G05 | WVTR (Water vapour Transmission rate) system | MOCON/ Permatran 3/34 | G.012.D | 1
G06 | Surface Zeta Potential | Anton Paar / SurPass 3 | G.012.C | 1
G07 | 3 roll calendar mill | EXALT / 120EH | G.001.A | 1
G08 | Injection Moulder | FANUC / Roboshot a-S50iA 330, Engleman | G.001.C | 1
G09 | Internal Mixer (1kg) | Haake / PolyLabQC, | G.001.C | 1
G09b | Internal Mixer (1kg) | Haake/Rheomix 300QC | G.001.C
G100 | UV-Vis spectroscopy | Spectronic / Camspec M550 | G.001.A | 1
G101 | Battery testing rig (8 channel) | Ivium / Octostat 5000 | G.011.A | 1
G102 | high Current impedance spectrometer | Ivium / | G.011.A | 1
G103 | Low Current impedance spectrometer | Ivium / | G.011.A | 1
G104 | Network Analyser | Keysight / N5227A-201 | 1st floor prototyping | 1
G105 | Preamps and Proves | Keycom / | 1st floor prototyping | 1
G106 | Preamps and probes | Quantum Design / | 1st floor prototyping
G107 | High Shear Homogenisers | Silverson / L5M | Various Labs | 5
G108 | High Shear Homogenisers | Silverson / L5MA-SU | Various Labs | 5
G109 | High Shear Homogenisers | Silverson / AX5 | G.003 | 3
G10a | Modular Polymer Processig system with torque Rheometer | RheoDrive 16OS | G.001.C
G10b | Modular Polymer Processig system with torque Rheometer | Reomex PTW 24/40 | G.001.C | 1
G10c | Modular Polymer Processig system with torque Rheometer | Screw feeder (next to PTW24/40) | G.001.C | 1
G10d | Modular Polymer Processig system with torque Rheometer | Water cooling bath | G.001.C | 1
G10e | Modular Polymer Processig system with torque Rheometer | Pelletizer | G.001.C | 1
G10f | Modular Polymer Processig system with torque Rheometer | Blown film take-off | G.001.C | 1
G10g | Modular Polymer Processig system with torque Rheometer | Rheomex19/25 | G.001.C | 1
G11 | Hot Press | PEI LAB 250 E | G.001.C | 1
G110 | Raman Spectrometer | Renishaw / 532 & 633nm + optical fibre | Optics Prototyping | 1
G111a | Freeze Driers | Buchi / L-300 | G.003.A | 1
G111b | Freeze Driers | Buchi / L-300 | G.012.D | 1
G112 | Rotating Disk Impedance Spectrometer | Ivium / | G.011.A | 2
G113 | Clean tent (Class 1000) | C2C | G.003.B | 1
G114 | Vacuum Oven | FiSTREEM | G.001.A | 1
G115 | Computer Controlled reactors | 5L Max | G.012.C | 2
G116 | Computer Controlled reactors | 20L Max | G.003.A | 1
G117 | Balances including 6dp | AnD / | Various Labs | 2 x 6dp, 4 x 2dp
G118 | Heat Exchangers |  | Where Needed | 4
G119 | Chillers |  | Where Needed
G12 | Universal mechanical testing machine | Labortech / 6.200.1.20 | G.001C | 1
G120 | Ultrasonic Baths (45L) | Clifton / SW45H | G.003.A | 2
G121 | Homogeniser (Microfluids) | Microfluids / M110Pv3 | G.012.D | 1
G122 | Ultrasonic Probe | Sonifier / SFX550 | G.003.A | 1
G123 | Chemistry Pack | Benchtop Instruments | Various Labs | 128
G124 | Special Gas Cabinets | Spectron / BGE Dual Gas | 4 in Chemical Store, 2 in G.003.B | 6
G125 | LTE Dry room
G126 | LTE Dry room Plant
G127 | Hybrid Rheometer | TA Waters / Discovery HR-2 | G.001.A
G128 | Speed Mixer | SpeedMixer / DAC600.2 | G.001A
G130 | Glass Washer | Mielle | G.011.A | 1
G131 | Glass drying oven |  | G.011.A | 1 | Not purchased
G132 | Environmental test chamber | Environmental test chamber | G.011.A | 2
G133 | small Calendaring machine | Calendar | G.011.A | 1
G134 | DI water Loop | Veiolia / Centra 200 | G.011.A
G135 | Fixed Gas detectors |  | G.011.A
G13a | SEM | Hitachi / SU 5000 | G.002 | 1
G13b | EDX | Bruker Xflash 6 / 100 EDS | G.002 | 1
G14 | Raman Spectrometer | Renishaw / 532 499nm | G.002 | 1
G15 | Ellipsometer | Semilabs / SE2000 | G.002 | 1
G16 | Optical Microscopes | Zeiss / Axioscope A.1 | G.002 | 1
G17a | FTIR Spectrometer microscope with optional PL | Bruker / Vertex 80v | G.002 | 1
G17b | FTIR Spectrometer microscope with optional PL | Bruker / Hyperion 3000 | G.002 | 1
G18 | Acoustic Mixer | Resodyn / LabRAM II | G.001A | 1
G19 | UV-Vis Spectrometer | Analytik Jena / Specord 50 plus | G.002 | 1
G20 | Laser flash facility (thermal diffusivity measurement) | Linseis / LFA 500+ | G.002 | 2
G21 | Thermo Balance Thermogravimetric Analyser | TA Instruments / | G.002 | 1
G22 | Dynamic Mechanical Analyser (DMA) | TA Instruments / Q800 DMA | G.002 | 1
G23 | Steady State Thermal Measurement | TA Waters / DTC-300 | G.002 | 1
G24 | Thermoelectric characterisation (simultaneous seebeck & electrical resistivity) | Netzsch / SBA 458 | Morton Labs | 1
G25 | Patricle size/Zeta | Melvern / Nano ZS | G.002 | 1
G26 | Patricle size analyser | Anton Paar / PSA 1190 | G.002 | 1
G27 | Dynamic Scanning Calorimeter (DSC) | TA Instruments / DSC 2500 | G.002 | 1
G28 | High Temp DSC | Netzsch / DSC 404 F1 | G.002 | 1
G29 | Inorganic CVD Reactor | Aixtron / BM Novo | G.003.B | 1 | Commissioning
G30a | Plasma etcher | Moorfield / nanoETCH | G.003.B | 1
G31 | Spin coater | Apogee / Spin Coater | G.003.B | 1
G32 | Wafer Hotplate | Apogee / Hotplate | G.003.B | 1
G33 | Roll to Roll Graphene CVD | Aixtron / BM Neutron | G.003.B | 1 | Commissioning
G34 | Batch Graphene CVD Reactor | PlanarTech / Planar grow 5S | G.003.B | 1
G35 | Spark Sintering Furnace | FCT / KCE-FCT HP D 10-SD | G.003.A | 1
G36 | Graphitisation & Carbonisation furnace | FCT / KCE-FCT HP D 10-SD | G.003.A | 1
G37 | Annealing furnace (1300degC) | Carbolite / FZS3 | G.003.A | 1
G38 | Annealing furnace (1700degC) | Carbolite / HTRH-3 | G.003.A | 1
G39 | Autoclave | Olmar / ATC 1400-2000 Compact | G.003A | 1
G40 | Mass spectrometer | Hiden Analytical / HPR-20 | G.003.A | 1
G41 | FTIR | Perkin Elmer / Frontier MIR/NIR | G.003.A | 1
G42 | Planetary Mixer - Energy | Planetary Mixer | G.011.B | 1
G43 | R2R tape caster and dryer | Slot Die R2R coating system | G.011.B | 1
G44 | Tape Casting Bed (AFC) | AFC with heated bed and air heating | G.011.B (FC) | 1
G45 | Calendaring system | pressure controlled calendar | High Bay | 1
G46 | Electrode Die Cutting | Electrode Die Cutter GN-180 | G.011.B | 1
G47 | Ultrasonic Welding Machine | U/S Spot Welder | G.011.B | 1
G48 | Vacuum Oven | Vac Oven | G.011.B/D | 2
G49 | Electrode / Cell Stacker | Automatic cell stacker | G.011.B/D | 2
G50 | Electrode / Cell Winder | Pouch cell winder | G.011.B/D | 1
G51 | Pouch Former | Pouch Former | G.011.B | 1
G52 | Vacuum Heat Sealer | Vac Heat Sealer | G.011.B/D | 2
G53 | Heat Sealer | Heat Sealer | G.011.B/D | 2
G54 | 2 person Glove boxes w/ ovens | Mbraun / Unilab Pro SP (1250/780) | G.011.D | 2
G55 | R2R Flexo/Gravure Printer | Coatema / basecoater | G.010.C | 1
G56 | screen Printer for printed electronics | Microtec / MT1100 TVC | G.010.C | 1
G57 | Inkjet Printer for printed electronics | Meyer Burger / LP50 | G.010.C | 1
G58 | Paint Spray | MTI / MSK-USP-02 | G.010.B | 1
G59 | Viscometer LV-II (with 23-6) | Rheosense / m-VROC | G.010.C | 1
G60 | Tensiometer DSA100 | Kruss / DSA 100 | G.010.C | 1
G61 | Particle Sizer | Malvern / Mastersizer 3000 | G.010.B | 1
G62 | Automatic Film Coater | MTI / MSK-AFA-II-VC | G.010.A | 2
G63 | Plasma Reactor | Haydale / HT60 | G.010.B | 1
G64 | Viscometer | TA Instruments / HR3 | G.001.A | 1
G65 | DSM Xplore Fibre Spin Line | Xplore / Winding unit | G.001.C | 1
G66 | DSM Xplore Fibre Spin Line | Xplore / Conditioning Unit | G.001.C | 1
G67 | Small Batch Mixer | Dual Shaft Planetary mixer | G.011.B | 1
G68 | Water Content Detector | Battery and electrode water content | G.011.D | 1
G69 | Mandrel Bending Tester | Mandrel Bending Tester | G.011.B | 1
G70 | Overhead Mixer | Overhead mixer | G.011.B | 1
G71 | 4dp balance 100g | balance | G.011.B | 2
G72 | 1dp balance 5kg | balance | G.011.B | 2
G73 | Magnetic Multistirrer | 10 position 1L multistirrer | G.011.B | 2
G74 | Viscometer | rotary viscometer | G.011.B | 1
G75 | Label Screen Printer | Label printer | G.011.B | 1
G76 | leak Detector | Leybold / | Mobile | 1
G77a | Personal Gas sensors | Drager | mobile
G78 | CVD Abatement System | CS Clean/ Labline CS070 | G.003.B | 1
G79 | Transient Thermoconductivity | Hot Disk / TPS 3500 |  | 1
G80 | 64 Channel Battery Cycler | BaSyTec / CTS-LAB | G.011.A | 2
G81 | Source Meters | Keithley / 2636B Sourcemeter | 1st floor prototyping | 1
G82 | Source Meters | Keysight / B2901A | 1st floor prototyping | 1
G83 | Source Meters | Keithley / 2604B Sourcemeter | 1st floor prototyping | 1
G84 | Source Meters | SS CS580 voltage controller precision AC current source | 1st floor prototyping | 1
G85 | Voltmeters | Keithley 2182A/E nanovoltmeter | 1st floor prototyping | 1
G86 | Lock-In amplifiers (Dual phase Lock-in) | SR550 | 1st floor prototyping | 1
G87 | Lock-In Amplifiers (DSP) | Stanford / SR830 | 1st floor prototyping | 1
G88 | Lock-In Amplifiers (DSP) | Stanford / SR860 | 1st floor prototyping | 1
G89 | Vacuum Pumps (Station) | Leybold / turbolab 350i | 1st floor prototyping | 1
G90 | Scanning Probe |  | 1st floor prototyping | 1
G91 | Oscilloscope | Keysight / DS0X3022T | 1st floor prototyping | 1
G92 | Spectrum Analyser (FFT) | Stanford / SR760 | 1st floor prototyping | 1
G93 | Vacuum Viscosity Mixer | Synergy | 1st floor prototyping | 1
G94 | Electronics Interface | NI / GPIB-USB-HS+ adaptor | 1st floor prototyping | 1
G95 | Digital Waveform generator | Rigol / DG1022Z | 1st floor prototyping | 1
G96 | CCD Spectrometers w/ sources, fibres, optics & installation | Horiba / iHR320 | 1st floor prototyping | 1
G97 | Lasers |  | 1st floor prototyping | 1
G98 | Auxilliary optics |  | 1st floor prototyping | 1
G99a | Solar Cells |  | 1st floor prototyping | 1
G99b | Solar Simulator |  | 1st floor prototyping | 1
G136 | Guillotine | Clarke SBR305 | Mechanical Prototyping | 1
G137 | Abrasion Tester | Taber 5135 | Membranes | 1
G138 | Powder Coating Gun |  | Membranes | 1
G139 | Impact Tester |  | Membranes | 1
G140 | Shear/Scratch Tester | Taber 551 | Membranes | 1
£4k PA for ALL equipment per user
16k PA for all equipment including those above