## THE
THE Impact Ranking 2020
2017/18 |  |  | 2018/19 |  |  | 2019/20 |  |  | 2020/21
Total volume of water used (in litres) in the university. | 1035567054 | litres | Total volume of water used (in litres) in the university. | 878834000 | litres | Total volume of water used (in litres) in the university. | 670587420 | litres | Total volume of water used (in litres) in the university. |  | litres
Rainwater | 2112054 | litres
Water | 1033455000 | litres
Solar PV
Electricity | 103.4 | GWh | Electricity | 104.379 | GWh | Electricity | 99.3 | GWh | Electricity | 91.4 | GWh
| 103400000 | kWh |  | 104379000 | kWh |  | 99300000 | kWh |  | 91400000 | kWh
| 372240000 | MJ |  | 375764400 | MJ |  | 357480000 | MJ |  | 329040000 | MJ
| 372240 | GJ |  | 375764.4 | GJ |  | 357480 | GJ |  | 329040 | GJ
Gas | 137.5 | GWh | Gas | 135.201 | GWh | Gas | 140.9 | GWh | Gas | 131.7 | GWh
| 137500000 | kWh |  | 135201000 | kWh |  | 140900000 | kWh |  | 131700000 | kWh
| 495000000 | MJ |  | 486723600 | MJ |  | 507240000 | MJ |  | 474120000 | MJ
| 495000 | GJ |  | 486723.6 | GJ |  | 507240 | GJ |  | 474120 | GJ
Total energy used in Gigajoule (GJ). | 867240 | GJ | Total energy used in Gigajoule (GJ). | 862488 | GJ | Total energy used in Gigajoule (GJ). | 864720 | GJ | Total energy used in Gigajoule (GJ). | 803160 | GJ
Energy used from low-carbon sources: | 128041 | kWh | Energy used from low-carbon sources: | 33827 | kWh | Energy used from low-carbon sources: | 73532 | kWh | Energy used from low-carbon sources: | 251030.08 | kWh
| 460947.6 | MJ |  | 121777.2 | MJ |  | 264715.2 | MJ |  | 903708.288 | MJ
Power generation sources (wind, solar, nuclear) | 460.9476 | GJ | Power generation sources (wind, solar, nuclear) | 121.7772 | GJ | Power generation sources (wind, solar, nuclear) | 264.7152 | GJ | Power generation sources (wind, solar, nuclear) | 903.7083 | GJ
| 12861 | kWh |  | 13809 | kWh |  | 12255 | kWh |  |  | kWh
| 46299.6 | MJ |  | 49712.4 | MJ |  | 44118 | MJ |  | 0 | MJ
Solar Thermal | 46.2996 | GJ | Solar Thermal | 49.7124 | GJ | Solar Thermal | 44.118 | GJ | Solar Thermal | 0 | GJ
| 711540 | kWh |  | 531930 | kWh |  | 604510 | kWh |  |  | kWh
| 2561544 | MJ |  | 1914948 | MJ |  | 2176236 | MJ |  | 0 | MJ
GSHP | 2561.544 | GJ | GSHP | 1914.948 | GJ | GSHP | 2176.236 | GJ | GSHP | 0 | GJ
Energy used from low-carbon sources: Total | 3068.7912 | GJ | Energy used from low-carbon sources: Total | 2086.4376 | GJ | Energy used from low-carbon sources: Total | 2485.0692 | GJ | Energy used from low-carbon sources: Total | 903.7083 | GJ
Note on AN19: Mahdi Choudhury: estimate
Note on AM26: Mahdi Choudhury: GSHP Heat Meter supply to Buffer vessel / PHE
Note on AN27: Mahdi Choudhury: estimate

## 2020 21 low carbon sources
PV | 20/21 |  |  |  | Solar Thermal | 20/21 |  |  |  | GSHP | 20/21
Alan Gilbert | 16595.9626 | meter reads |  |  | Alan Gilbert | 223 | coherent data (meter offline from Jan21) |  |  | James Chadwick | 61990
Ferranti 1 | 3182.886 | coherent data |  |  | Students Union | 2543.4433 | meter reads |  |  | The Whitworth | 7135
Ferranti 2 | 2845.468 | coherent data |  |  | The Whitworth | 3450.2238 | meter reads |  |  |  | 69125 | kWh
Ferranti 3 | 3353.371 | coherent data |  |  | Cary's Bannister | 7252.741
Alan Turing | 7430.83 | coherent data |  |  |  | 13469.4081 | kWh
Arthur Lewis | 11052.7 | coherent data
NGI | 12228.628 | coherent data
Royce | 12277.28 | coherent data
| 68967.1256 | kWh
Meter ID | Solar Thermal | kWh/y | [5 empty] | Total |  |  | 803160
3550, 3551 | Alan Gilbert | 1143
not on DCS | Students Union | 5556 | [5 empty] | Electric total (Gj) |  |  | 329040
not on DCS | The Whitworth | 5556 | [5 empty] | 5/12 x 329,040 |  |  | 137099.97 | X.431 (grid renewables)
|  | 12255 | kWh | #REF! |  |  |  | 7/12 x 329,040 |  |  | 191939.98
|  | 44118 | MJ
#VALUE!
Meter ID | GSHP | kWh/y
2409 | James Chadwick | 248740
not on DCS | The Whitworth | 355770
|  | 604510 | kWh
|  | 2176236 | MJ
[7 empty] | Total grid energy used | 803160 | MJ
[7 empty] | Total energy generated | 545.621 | MJ
|  | 2220.354 | GJ |  |  |  | Total energy from all sources | 803705.621 | MJ
[7 empty] | Total low carbon energy | 251030.08 | MJ
| 59090.095 | renewable
| 191939.98 | renewable
| 251030.075 | total renewable used
PV | 68967
Solar | 13469.4
GSHP | 69125
KwH | 151561.4 | total low carbon generated
converted to GJ is | 545.621
Note on D18: Mahdi Choudhury: estimate
Note on C25: Mahdi Choudhury: GSHP Heat Meter supply to Buffer vessel / PHE
Note on D26: Mahdi Choudhury: estimate