# Template Standard Operating Procedure: Preface

## Background and Aim

This template Standard Operating Procedure (SOP) was developed by the iCharts network (International Collaboration for Harmonising Adverse Events Reporting in Technology for Serious Mental Health Problems). The iCharts network is a group of senior, early career and service user researchers working in digital health for psychosis, convened by Professor Sandra Bucci. We received the Schizophrenia International Research Society’s 2021 Research Harmonisation Award to conduct research harmonisation work aiming to improve adverse events (AE) reporting in digital psychosis studies. We have published two articles in Schizophrenia Bulletin outlining the iCharts Network’s work: Allan et al, 2024; Eisner et al, 2024. The second of these details the procedures followed to create the current template SOP.

The aim of this template SOP is to provide a starting point for researchers to create a Standard Operating Procedure for AE reporting in their own studies. We provide information and recommendations for best practice for AE monitoring and reporting in relation to digital health studies in psychosis samples. This template SOP provides an outline that can be adapted by researchers who are setting up a study that includes a digital health intervention or digital health tool (DHI/T), whether that be a standalone DHI/T or a blended approach (i.e. delivery is supported by a clinician, which could be face to face, or remote synchronous or asynchronous).

## Limitations, comments, and feedback

We recognise that this and other outputs from the iCharts Network are limited by the countries of members involved, but we look forward to producing an open-source document that can be updated and made more globally relevant in due course. We have included a Glossary of Terms in Appendix H to define how we have used certain terms in this template SOP; we anticipate that terms may differ between countries, so the glossary is intended to clarify use in the current document. We also intend this to be a “live” document, open to feedback and additional content from experts, including experts-by-experience, around the world, with an increased focus on nations not currently represented to maximise and broaden relevance of this guidance.

We welcome comments and feedback. We encourage you to submit these via the following online form: https://forms.office.com/e/QLFVadwHfT

## Notes on how to use this template SOP

As monitoring and reporting of AE will necessarily vary depending on context, this document must be localised throughout for use in a specific study. For example, Section 3A contains definitions for studies involving a Medical Device and Section 3B contains definitions for studies using a DHI/T that is not classified as a Medical Device. The appropriate version of Section 3 should be selected, and the other section deleted, when personalising and localising this SOP for your study. Similarly, Section 5 will need detailed input in relation to the particular external reporting procedures to follow depending on the study context.

Sections in purple text contain either:

- Recommendations, presented in a box (to be deleted).

- Instructions to the reader in square brackets [like this], to be deleted.

- A choice of options. The researcher should use the appropriate option and delete other(s).

- Sections that researchers should update to make the document specific to their own trial.

Examples from previous trials are given in italics, contained in square brackets [for example, like this]. These can be adapted as appropriate for the study or deleted.

The following terms appear in angled brackets throughout the document: <version number>, <date>, <current study/trial name>, <current study/trial sponsor>, <DHI/T name>, <Medical Device name>. These terms can be automatically updated throughout the document by using the word processor’s search and replace function. To ensure that generic terms are not replaced accidentally, include the angled brackets in the search term.

## Document contributors, citation and creative commons statement

This document was produced by the following members of the iCharts network: Emily Eisner, Cara Richardson, Neil Thomas, Mar Rus-Calafell, Suzy Syrett, Joseph Firth, Andrew Gumley, Amy Hardy, and Sandra Bucci.

Please cite this document as: Eisner, E., Richardson, C., Thomas, N., Rus-Calafell, M., Syrett, S., Firth, J., Gumley, A., Hardy, A., Bucci, S. (2024). Template Standard Operating Procedure (SOP) for Measurement of Adverse Events in Studies of Digital Health Interventions for Psychosis (Version 1.1). https://documents.manchester.ac.uk/display.aspx?DocID=72386

Please also cite the published journal article: Eisner, E., Richardson, C., Thomas, N, Rus-Calafell, M., Syrett, S., Firth, J., Gumley, A., Hardy, A., Allan, S., Kabir, T., Ward, T., Priyam, A., Bucci, S., the iCharts network (2024). Measurement of Adverse Events in Studies of Digital Health Interventions for Psychosis: Guidance and Recommendations Based on a Literature Search and Framework Analysis of Standard Operating Procedures, Schizophrenia Bulletin, sbae048, https://doi.org/10.1093/schbul/sbae048

This document is licensed under a Creative Commons Attribution 4.0 International License (CC BY-SA 4.0; https://creativecommons.org/licenses/by-sa/4.0/deed.en). Figures 1A and 1B are reproduced with permission from the copyright holder (NIHR Clinical Trials Toolkit). Table 2 and Appendices A, C, D, E, F, G, and H are reproduced from the authors’ published work, Eisner et al, 2024, an Open Access article distributed under the terms of the Creative Commons Attribution License (https://creativecommons.org/licenses/by/4.0/), which permits unrestricted reuse, distribution, and reproduction in any medium, provided the original work is properly cited.

Please delete this preface page when adapting the template SOP for your study.

[insert study/sponsor logo here]

STANDARD OPERATING PROCEDURE FOR

ADVERSE EVENTS IN THE <current study/trial name>

Version <version number>, Date <date>

Contents

Template Standard Operating Procedure: Preface	1

Background and Aim	1

Limitations, comments, and feedback	1

Notes on how to use this template SOP	1

Document contributors, citation and creative commons statement	2

1. Introduction	6

2. Responsibilities Specific to This SOP	7

3A. Definition of terms [for Medical Device studies]	9

Medical Device	9

Investigator’s Brochure	9

Device Deficiencies	9

Procedure for classifying potential adverse events	10

Is it an adverse event?	13

Is it serious?	14

Is it related?	14

Is it expected?	18

3B. Definition of terms [for studies without a Medical Device]	19

Procedure for classifying potential adverse events	19

Is it an adverse event?	21

Is it serious?	22

Is it related?	22

Is it expected?	25

4. Monitoring Adverse Events	26

Eliciting Adverse Events	26

Training and supervision	27

5. Reporting Adverse Events	27

Adverse Events that do not require reporting	27

Reporting flowchart	27

All Adverse Events	27

Non-serious Adverse Events	28

Serious Adverse Events	28

6. Reporting adverse events in publications and reports	32

Appendix A: Relevant Regulations and Guidelines	33

Appendix B: Examples of Adverse Events	34

Appendix C: Methods for eliciting/monitoring Adverse Events	35

Appendix D: Training and supervision recommendations	36

Appendix E: Example report forms and logs	37

Adverse Event report form	37

Device Deficiency form	40

Adverse Event log	42

Appendix F: Example reporting flowchart	43

Appendix G: Example declaration by research staff form	44

Appendix H: Glossary of Terms	45

Developed by

| Version | Date | Name | Position | Signed |
| --- | --- | --- | --- | --- |

Review summary

[Changes in circumstances, or new information arising during the study, may necessitate an updated version of the Standard Operating Procedure document (e.g. a clarification of the procedure for reporting adverse events in specific circumstances that hadn’t previously been specified). This section can be used to add a summary of any changes that are made.]

| Reviewed version | Review date | Summary of changes |
| --- | --- | --- |

Authorisation

[This section can be used to record the date that the Chief Investigator has read and approved each version of the Standard Operating Procedure document]

| Version | Date | Name | Position | Signed |
| --- | --- | --- | --- | --- |

Due for review:

[Add date that AE SOP will be reviewed]

# 1. Introduction

In order to comply with relevant guidelines and regulations, it is important that all researchers are aware of the different definitions related to adverse events in research, and how to record, report and review each of these specific occurrences. The specific guidelines/regulations that are relevant to the <current study/trial name> study are as follows:

[Delete/include specific guidelines as appropriate; see also Appendix A for a list of these and other regulations/guidelines, which countries these apply to, and websites where they can be accessed.]

- The study sponsor’s safety reporting guidelines

- Research Ethics Committee / Institutional Review Board safety reporting guidelines

- Clinical Trials Unit safety reporting guidance

- Medical Devices Regulations 2002

- ISO 14155:2020 (previous version: ISO/FDIS 14155:2011)

- European Union (EU) Clinical Trials Regulation (536/2014)

- Good Clinical Practice guidelines

- General Data Protection Regulation (GDPR)

- Evidence standards framework for digital health technologies (NICE)

- Digital Clinical Safety Strategy (NHS England)

- European Commission Medical Devices Guidance Document (MEDDEV 2.12-1 rev 8)

- Health Research Authority Safety Information

- A guide to good practice for digital and data-driven health technologies (UK Government)

- Global strategy on digital health 2020-2025 (WHO)

- Digital Technology Assessment Criteria (DTAC)]

It is essential that all adverse events which occur during the course of the <current study/trial name> study are recorded and reported appropriately to ensure that any necessary actions are taken to maintain participant safety. A summary of responsibilities with regards to adverse events reporting in <current study/trial name> is given in Section 2.

Adverse events are reportable from the time of study enrolment. For <current study/trial name>, the time of enrolment is defined as the time at which, following recruitment, a participant signs and dates the consent form. Adverse events can be classified into different categories:

[For Medical Device studies]

- Adverse Event (AE)

- Adverse Device Effect (ADE)

- Serious Adverse Event (SAE)

- Serious Adverse Device Effect (SADE)

- Unanticipated Serious Adverse Device Effect (USADE)

- Device Deficiencies

[For studies testing a digital tool that is not classified as a Medical Device, and/or for Medical Device studies examining whether AEs are related to other study elements]

- Adverse Event (AE)

- Adverse Reaction (AR)

- Serious Adverse Event (SAE)

- Serious Adverse Reaction (SAR)

- Serious Unexpected Adverse Reaction (SUSAR)

Definitions of each of these categories are provided in Section 3 [Section 3A for medical device studies; section 3B for studies without a medical device]. Investigators’ assessments of relatedness/causality and expectedness are of particular importance. Section 4 outlines research staff training and supervision, and procedures for eliciting adverse events reports during the study. Section 5 describes how adverse events will be documented internally and reported to external parties in line with relevant guidelines and regulations.

# 2. Responsibilities Specific to This SOP

The parties responsible for delivering this AE reporting SOP are:

| Role | Name(s) |
| --- | --- |
| Chief Investigator (CI): | [Add CI name] |
| Principal Investigator/s (PI): | [Add PI name(s)] |
| Sponsor: | [Add sponsor name] |
| Independent oversight committee e.g. Data Monitoring and Ethics Committee (DMEC) | [Add committee name and chairperson name, if applicable] |
| Medical Device manufacturer: | [Add manufacturer name, if applicable] |
| Clinical Trials Unit (CTU) | [add CTU name, if applicable] |

Specific responsibilities for each party are as follows. [Outline the responsibilities of each named party in relation to AE reporting in this study. Where specific responsibilities are formally delegated (e.g. delegated by the sponsor to the CI/PI), these should be stated.]

[Example 1:

Chief Investigator (CI):	Report, assess and sign-off adverse events occurring in [lead site].

Principal Investigator (PI):  	Report, assess and sign-off adverse events occurring in [second site / recruiting site].

Sponsor: 	Ensuring SAEs, SADEs and USADEs are reported to the relevant regulatory authority (e.g. MHRA / FDA/etc and REC/IRB).

Example 2:

Chief Investigator responsibilities: Ensure study staff, including those at the lead study site and all other study sites, are trained in the Protocol, Investigator Brochure, study procedures, adverse event (AE)/serious adverse event (SAE) reporting, and that a system for safety reporting duties is in place for all study staff. Centres that only identify potential eligible participants but are not involved in any other study procedures or intervention are not required to complete this training.

Example 3:

- All of the NHS Trust’s sponsor responsibilities in relation to AE assessment, recording and reporting are formally delegated to the PI. The PI can further delegate responsibilities to the research team and record agreed roles on the Delegation Log.

- For audit purposes, and to ensure that the delegated sponsor responsibilities are being appropriately met, <sponsor name> will periodically request information from researchers on their procedures for monitoring and reporting adverse events; it is the responsibility of the PI (or delegate) to respond to such requests in a timely manner.

- A suitably qualified member of the study team (usually the CI or PI) must be responsible for assessing the ‘relatedness’ of an event.

- It is the responsibility of the CI or PI to periodically (e.g. quarterly) perform and document a review of all adverse events occurring on the study, in order to identify any trends such as an increase in numbers or severity of events. To facilitate this exercise, a central spreadsheet or log of all events in a line-listing format should be maintained, in addition to recording details in the medical records and participant Case Report Form (CRF). The minimum required fields in the log should be: AER ref, contact name, participant ID, date of event, type of event, details, outcome, future actions, whether deemed related to study procedures, to whom reported and when. [See Appendix E for an example spreadsheet]

- The outcome of the AE trend analyses should be reported to the Sponsor and Data Monitoring and Ethics Committee (DMEC)/ Project Steering Committee (PSC) as appropriate. The DMEC/PSC can advise on any safety issues raised by these analyses and actions required to address them.

Example 4:

Principal Investigator (PI)

The Principal Investigator (PI) reports to the Chief Investigator and has responsibility for the research at a local site. The PI is responsible for:

- Keeping a detailed record of all AEs.

- Reporting all SAEs immediately to the Chief investigator within one working day. The immediate report shall be followed by detailed written reports.

- Supplying the Sponsor, REC and relevant Trust R&D with any supplementary information they request.

- Ensuring that all staff who are delegated responsibilities which impact on subject safety are trained and fully equipped to perform their role.

- Ensure clinical follow-up is ongoing until the event is resolved.

- If appropriate, upload relevant safety data to a centralised safety database as specified in the protocol.

- Complete the Annual Safety Summary Report for REC.

Chief Investigator (CI)

The Chief Investigator (CI) has overall responsibility for the conduct of the study. The CI has co-ordinating responsibility for reporting adverse events to the Research Ethics Committee (REC). These are SAEs which are considered to be unexpected and related to treatment or trial procedure. The CI is responsible for:

- Reviewing the SAEs for seriousness, causality and expectedness (classifying the SAE) and signing off the SAE form.

- Reviewing and signing the National Research Ethics Service ‘Report of SAE Form’.

- Reporting all SAEs and SUSARs within agreed timelines to the Sponsor.

Trial management group (TMG) responsibilities

- Discussing all SAEs that have been received in between TMG meetings.

- When required – giving consensus to a SAE classification.

Trial Steering Committee (TSC) responsibilities

- The SAEs are sent to the TSC for their information within the agreed timeframe.

Trial Manager responsibilities

- Coordinating the received SAEs forms and obtaining the sign offs.

- Scanning/typing and verifying the SAE on the Study database and chasing missing information.

- Sending the reports to the main REC (and Sponsor) within the specified guidelines.]

# 3A. Definition of terms [for Medical Device studies]

## Medical Device

A Medical Device is “an article, instrument, apparatus or machine that is used in the prevention, diagnosis or treatment of illness or disease, or for detecting, measuring, restoring, correcting or modifying the structure or function of the body for some health purpose.” (World Health Organisation). The Medical Device being evaluated in <current study/trial name> is <Medical Device name>. [Add a definition of the specific Medical Device here].

[Example definition from the EMPOWER study (Gumley et al, 2022):

Participants use a mobile phone app that prompts them to answer a daily questionnaire about their symptoms. The data are then submitted to the EMPOWER server and analysed by the alert algorithm. The algorithm establishes a delta by comparing their current state against an established baseline; if changes exceed certain thresholds, an alert is generated. The consequences of the alert are that research teams are emailed about the participant and then the participant’s status is set to ‘ALERT’, which is highly visible in the researcher interface.

At the same time the alert algorithm runs, a separate process scans for symptom changes against the baseline. Based on these changes, the logic selects a message from the most appropriate of several content-based message pools (i.e. one message pool contains helpful messages about ‘Mood’, another about ‘Anxiety and Coping’, etc.). This message is delivered back to the participant’s mobile app and displayed there.

The EMPOWER algorithm alone is considered to be a medical device.]

## Investigator’s Brochure

The Investigator’s Brochure is the compilation of the current clinical and non-clinical information on the Medical Device relevant to the clinical investigation.

## Device Deficiencies

Inadequacy of the Medical Device related to its identity, quality, reliability, safety or performance. Device Deficiencies include malfunctions, end use errors, and inadequate labelling (inadequacy in the information supplied by the manufacturer). Some deficiencies may have led to an adverse device effect or a serious adverse device effect and should be treated as Adverse Device Effects (ADEs) or Serious Adverse Device Effects (SADEs) (see definitions below).

## Procedure for classifying potential adverse events

Recommendations Before the study starts, consider which AE types are relevant to this study and list them in this section. Consult specific guidelines/regulations and consider the type of intervention(s) (e.g., medical device, therapy, drug, other DHI/T that is not a medical device) and other study elements (e.g., study assessment) being used in the study when deciding which AE types are relevant. The specific definition type (e.g., (S)ADE/USADE vs. (S)AR/SUSAR) depends on the specific element(s) of the study being considered as potential causes of the (S)AE. If the (S)AE is related to a medical device, it can be defined as an (S)ADE. If the (S)AE is related to any other study element, it can be defined as an (S)AR.

The following categories of adverse events are relevant to this study:

- Adverse Event (AE)

- Serious Adverse Event (SAE)

- Adverse Device Effect (ADE)

- Serious Adverse Device Effect (SADE)

- Unanticipated Serious Adverse Device Effect (USADE)

- Adverse Reaction (AR)

- Serious Adverse Reaction (SAR)

- Suspected Unexpected Serious Adverse Reaction (SUSAR)

To determine which specific category a possible adverse event falls under, researchers will answer the following questions (relevant adverse events categories are listed in parentheses):

- Is it an adverse event? (AE)

- Is it serious? (SAE)

- Is it related? (ADE, SADE, AR, SAR)

- Is it expected? (USADE, SUSAR)

This process is outlined in the flow diagram(s) below (Figure 1A and Figure 1B; reproduced with permission from the copyright holder, NIHR Clinical Trials Toolkit), with full details and definitions provided below.

### Figure 1A. Classifying Adverse Events related to an Investigational Medical Device (IMD)

Figure reproduced with permission from the copyright holder (NIHR Clinical Trials Toolkit).

### Figure 1B. Procedure for classifying Adverse Events related to study elements other than a medical device.

[E.g., an Investigational Medical Product (IMP), study assessments, study therapy, or a DHI/T that is not classified as a medical device. The term “IMP” in the flow diagram can be substituted with the relevant study element.]

Figure reproduced with permission from the copyright holder (NIHR Clinical Trials Toolkit).

## Is it an adverse event?

### Adverse event (AE)

Any untoward medical or psychological occurrence, unintended disease or injury, or untoward clinical signs in a study/trial participant (including those in an untreated control group). Adverse events do not necessarily have a causal relationship with the Medical Device (<Medical Device name>), [see Note 1] or study procedures (but may do). [See Notes 2 and 3].

- Further items can be listed here as relevant to the study. E.g., other study treatment, DHI/T, investigational psychological therapy, medicinal product.

- Consider listing any events that will not be counted as AEs in this study (e.g. technical glitches, phone theft).

[Example: Technical glitches such as periodic network outage, other minor technical hitches with the app, phone loss, phone theft and/or a participant selling the phone will not be counted as adverse events in this study. However, if one of these events occurs and results in a decline in mental state (e.g. phone theft was a result of physical assault, and there is a subsequent decline in mental state) then this will be recorded as an adverse event and the phone theft coded as the trigger (as opposed to the AE itself).]

- Consider operationalising a threshold above which an untoward medical or psychological occurrence constitutes an AE (and below which it does not).

[Example: Events which lead to significant increased distress and interference with daily life such that intervention from clinical team is required will be classified as adverse events. If some distress occurs but this is managed by the trial team and does not require additional support from clinical services, then this is not classified as an adverse event.]

Any changes of this type should be agreed and documented before the study starts.

Examples of potential adverse events in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

### Intensity

The intensity of an adverse event will initially be assessed according to these definitions (Table 1):

| Intensity | Description |
| --- | --- |
| Mild | An event easily tolerated by the participant, causing minimal discomfort and not interfering with everyday activities. |
| Moderate | An event sufficiently discomforting to interfere with normal everyday activities |
| Severe | An event that prevents normal everyday activities |

Important clarification: The terms "severe" (as in Table 1, above) and "serious" (as in serious adverse event, defined in the next section) are not synonymous. The term "severe" is often used to describe the intensity (severity) of a specific event (as in mild, moderate, or severe myocardial infarction); the event itself, however, may be of relatively minor medical significance (such as severe headache). This is not the same as "serious," which is based on participant/event outcome or action criteria usually associated with events that pose a threat to a participant's life or functioning.  Seriousness (not severity) serves as a guide for defining regulatory reporting obligations.

## Is it serious?

### Serious Adverse Event (SAE)

An adverse event is defined by as serious if it meets one (or more) of the following criteria:

- Results in death;

- Is a life-threatening1 illness or injury;

- Requires (voluntary/involuntary) hospitalisation2 or prolongation of existing hospitalisation;

- Results in persistent or significant disability or incapacity;

- Leads to foetal distress, foetal death or consists of a congenital anomaly or birth defect;

- Necessitates medical or surgical intervention to prevent any of the above;

- Is otherwise considered medically significant by the investigator.

1 “Life-threatening” refers to an event in which the participant was at risk of death at the time of the event; it does not refer to an event that hypothetically might have caused death if it were more severe.

2 A planned hospitalization for a pre-existing condition, without a serious deterioration in health, is not considered to be a serious adverse event (or a non-serious adverse event). For example, a planned hospital admission for clozapine titration where there was no recent decline in mental state would not be logged as an AE/SAE.

Note: In addition to standard SAE definitions consider:

- Are there any events that do not fall into the categories listed but that should be considered as SAEs for the purposes of the trial? E.g. crisis care, suicide attempt, police involvement.

- Are there any events that fall into the categories listed in standard SAE definitions but that should not be considered as SAEs for the purposes of the trial?

Any changes of this type should be agreed and documented before the study starts.

Examples of potential SAEs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

## Is it related?

### Causality

The relationship between the medical device and each adverse event will be assessed and categorised using a 2-/3-/5-point scale as defined in Table 2. The investigator will use clinical judgement and consider whether there is evidence to suggest a causal relationship. They will consider the timing of AE onset relative to use of the medical device and consider alternative causes such as the natural history of the participant’s underlying condition, concomitant therapy, other risk factors etc. The Investigator will also consult the current version of the risk analysis report, clinical hazard log Clinical Investigational Plan, protocol and/or the Investigator’s Brochure.

Where there are two assessments of an event, the causality assessment made by the local investigator (NOT the Chief Investigator) cannot be downgraded. In the case of a difference of opinion on causality, both assessments are recorded, and the “worst case” assessment is used for reporting purposes.

Table 2. Scales used to assess the likelihood that an (S)AE is related to an element of the study. Adapted from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0).  [Select the most appropriate scale for your study and delete the other columns]

|  | 2 UK NHS Trust SOPs | 1 UK University SOP | 1 UK NHS Trust SOP | 2 UK study SOPs | 1 US guideline | 1 UK study SOP | 1 UK study SOP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Not related Unrelated Definitely not related | There is no evidence of any causal relationship to the medical device | Where relationship to the device and/or procedure can be excluded. | Temporal relationship of the onset of the event, relative to administration of the product, is not reasonable or another cause can by itself explain the occurrence of the event | There is no evidence of any causal relationship. | The AE is clearly not related to the study procedures (i.e., another cause of the event is most plausible and/or a clinically plausible temporal sequence is inconsistent with the onset of the event). | No relationship with the therapy, research assessment or therapy system. Other factor(s) certainly causative. | No relationship with investigational device. Other factor(s) certainly or probably causative. |
| Unlikely Probably unrelated Probably not related | The relationship with the use of the investigational medical device seems not relevant and/or the event can be reasonably explained by another cause | Where the relationship with the use of the device seems not relevant and/or the AE can be reasonably explained by another cause, but additional information may be obtained. | Temporal relationship of the onset of the event, relative to administration of the product, is likely to have another cause which can by itself explain the occurrence of the event. | There is little evidence to suggest there is a causal relationship (e.g. the event did not occur within a reasonable time). There is another reasonable explanation for the event (e.g. the patient’s clinical condition, other concomitant treatment). | -- | -- |  |
| Possibly Possible Possibly related | The relationship with the use of the device is weak but cannot be ruled out completely | Where the nature of the event, underlying medical condition, concomitant medication or temporal relationship make it possible that the AE has a causal relationship to the device. Cases where relatedness cannot be assessed or no information has been obtained, shall also be classified as possible. | Temporal relationship of the onset of the event, relative to administration of the product, is reasonable but the event could have been due to another, equally likely cause. | There is some evidence to suggest a causal relationship. However, the influence of other factors may have contributed to the event (e.g. the patient’s clinical condition, other concomitant treatments). | An event that follows a reasonable temporal sequence from the initiation of study procedures, but that could readily have been produced by a number of other factors. | Possible relationship with therapy, research assessment or therapy system. Other factor(s) possibly causative. |  |
| Probable Probably related | The relationship with the investigational medical device seems relevant and/or the event cannot be reasonably be explained by another cause | Where relationship with use of the device seems relevant and/or the AE cannot reasonably be explained by another cause, but additional information may be obtained. | Temporal relationship of the onset of the event, relative to the administration of the product, is reasonable and the event is more likely explained by the product than any other cause. | There is evidence to suggest a causal relationship and the influence of other factors is unlikely. | -- | -- |  |
| Related Definitely related Causal relationship | The serious event is associated with the investigational medical device beyond reasonable doubt | Where the AE is associated with the device and/or procedure beyond reasonable doubt | temporal relationship of the onset, relative to administration of the product, is reasonable and there is no other cause to explain the event, or a re-challenge (if feasible) is positive | There is clear evidence to suggest a causal relationship and other possible contributing factors can be ruled out. | The AE is clearly related to the study procedures. | Temporal relationship of the onset of the event, relative to occurrence of therapy, research assessment or therapy system, is reasonable and there is no other cause to explain the event. | Temporal relationship of the onset of the event, relative to use of the device, is reasonable and there is no other cause to explain the event. |

Recommendations Before the study starts, consider: - How will relatedness be assessed? - Will a 2/3/5 point scale be used to assess relatedness? (see Table 1) - Which specific aspects of the study will relatedness be assessed for? e.g. software, hardware, study assessments, medication, psychological therapy. - Who has independent oversight of relatedness assessment? e.g. Data Monitoring and Ethics Committee (DMEC) Document the decision in relation to each of these question in this section of the SOP.

### Adverse Device Effect (ADE)

AE related to the use of a Medical Device. This includes AEs resulting from insufficient or inadequate instructions for use, deployment, [implantation], installation, or operation, or any malfunction of the Medical Device. This definition includes any event resulting from use error or from intentional misuse of the Medical Device. Use error refers to an act or omission of an act that results in a different device response than intended by the manufacturer or expected by the user.

Examples of potential ADEs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

### Serious Adverse Device Effect (SADE)

An adverse device effect (ADE) that has resulted in any of the consequences characteristic of a serious adverse event (SAE). This includes Device Deficiencies that might have led to a serious adverse event if: Suitable action had not been taken or, intervention had not been made or, if circumstances had been less fortunate

Examples of potential SADEs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

### Adverse Reaction (AR)

An adverse event judged by either the reporting investigator or the sponsor as having a reasonable possibility of a causal relationship (e.g. definitely, probably or possibly related) to the psychological therapy, study procedure, therapy, other intervention, investigational medicinal product, drug, experiment [delete as applicable] related to any dose or duration of therapy administered to that subject.

Examples of potential ARs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis. See Appendix B for examples].

### Serious Adverse Reaction (SAR)

An adverse reaction (AR) that has resulted in any of the consequences characteristic of a serious adverse event.

Examples of potential SARs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

## Is it expected?

Recommendations Before the study starts, researchers should list all expected (S)ARs / (S)ADEs in this section of the SOP. To do so, they should: - Consult Reference Safety Information, Investigator’s Brochure, Product Information, Summary of Product Characteristics, risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or risk assessment (if available). - If no Reference Safety Information exists yet, consider evidence from previous studies using this specific DHI/T or similar DHI/Ts (e.g. pilot studies, proof of concept studies) when defining expected (S)ARs. - Note that expectedness is assessed in relation to the study intervention/procedures/etc (not the condition). There is no need to assess (S)AEs which are unrelated to the study intervention/procedures/etc. If there are no expected (S)ADEs/(S)ARs, this should be clearly stated in this section of the SOP.

### Expected ADEs, SADEs, ARs, SARs

During the study, to determine whether the (S)ADE/(S)AR was expected or unanticipated/unexpected, researchers should compare the (S)ADE/(S)AR against the list of expected (S)ADEs/(S)ARs.

In this study, the following (S)ADEs/(S)ARs are expected:

- [list all relevant (S)ADEs/(S)ARs. See Appendix B for examples.

- If there are no expected (S)ADEs/(S)ARs, state this clearly here instead]

### Unanticipated Serious Adverse Device Effect (USADE)

A Serious Adverse Device Effect which by its nature, incidence, severity or outcome has not been identified prior to the start of the trial in the [Reference Safety Information, Investigator’s Brochure, Product Information, Summary of Product Characteristics, risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or risk assessment] and is not in the list of expected SADEs, above.

### Suspected Unexpected Serious Adverse Reaction (SUSAR)

A Serious Adverse Reaction which by its nature, incidence, severity or outcome has not been identified prior to the start of the trial in the [Reference Safety Information, Investigator’s Brochure, Product Information, Summary of Product Characteristics, risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or risk assessment] and is not in the list of expected SARs, above.

# 3B. Definition of terms [for studies without a Medical Device]

## Procedure for classifying potential adverse events

The following categories of adverse events are relevant to this study:

- Adverse Event (AE)

- Adverse Reaction (AR)

- Serious Adverse Event (SAE)

- Serious Adverse Reaction (SAR)

- Suspected Unexpected Serious Adverse Reaction (SUSAR)

To determine which specific category a possible adverse event falls under, researchers will answer the following questions (relevant adverse events categories are listed in parentheses):

- Is it an adverse event? (AE)

- Is it serious? (SAE)

- Is it related? (AR, SAR)

- Is it expected? (SUSAR)

This process is outlined in the flow diagram below (Figure 1B; reproduced with permission from the copyright holder, NIHR Clinical Trials Toolkit), with full details and definitions provided below.

### Figure 1B. Procedure for classifying Adverse Events

[E.g., an Investigational Medical Product (IMP), study assessments, study therapy, or a DHI/T that is not classified as a medical device. The term “IMP” in the flow diagram can be substituted with the relevant study element.]

Figure reproduced with permission from the copyright holder (NIHR Clinical Trials Toolkit).

## Is it an adverse event?

### Adverse event (AE)

Any untoward medical or psychological occurrence, unintended disease or injury, or untoward clinical signs in a study/trial participant (including those in an untreated control group). Adverse events do not necessarily have a causal relationship with the DHI/T, [see Note 1] or study procedures (but may do). [See Notes 2 and 3].

- Further items can be listed here as relevant to the study. E.g., other study treatment, investigational psychological therapy, medicinal product.

- Consider listing any events that will not be counted as AEs in this study (e.g. technical glitches, phone theft).

[Example: Technical glitches such as periodic network outage, other minor technical hitches with the app, phone loss, phone theft and/or a participant selling the phone will not be counted as adverse events in this study. However, if one of these events occurs and results in a decline in mental state (e.g. phone theft was a result of physical assault, and there is a subsequent decline in mental state) then this will be recorded as an adverse event and the phone theft coded as the trigger (as opposed to the AE itself).]

- Consider operationalising a threshold above which an untoward medical or psychological occurrence constitutes an AE (and below which it does not).

[Example: Events which lead to significant increased distress and interference with daily life such that intervention from clinical team is required will be classified as adverse events. If some distress occurs but this is managed by the trial team and does not require additional support from clinical services, then this is not classified as an AE.]

Any changes of this type should be agreed and documented before the study starts.

Examples of potential adverse events in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

### Intensity

The intensity of an adverse event will initially be assessed according to these definitions (Table 1):

| Intensity | Description |
| --- | --- |
| Mild | An event easily tolerated by the participant, causing minimal discomfort and not interfering with everyday activities. |
| Moderate | An event sufficiently discomforting to interfere with normal everyday activities |
| Severe | An event that prevents normal everyday activities |

Important clarification: The terms "severe" (as in Table 1, above) and "serious" (as in serious adverse event, defined in the next section) are not synonymous. The term "severe" is often used to describe the intensity (severity) of a specific event (as in mild, moderate, or severe myocardial infarction); the event itself, however, may be of relatively minor medical significance (such as severe headache). This is not the same as "serious," which is based on participant/event outcome or action criteria usually associated with events that pose a threat to a participant's life or functioning.  Seriousness (not severity) serves as a guide for defining regulatory reporting obligations.

## Is it serious?

### Serious Adverse Event (SAE)

An adverse event is defined by as serious if it meets one (or more) of the following criteria:

- Results in death;

- Is a life-threatening1 illness or injury;

- Requires (voluntary/involuntary) hospitalisation2 or prolongation of existing hospitalisation;

- Results in persistent or significant disability or incapacity;

- Leads to foetal distress, foetal death or consists of a congenital anomaly or birth defect;

- Necessitates medical or surgical intervention to prevent any of the above;

- Is otherwise considered medically significant by the investigator.

1 “Life-threatening” refers to an event in which the participant was at risk of death at the time of the event; it does not refer to an event that hypothetically might have caused death if it were more severe.

2 A planned hospitalization for a pre-existing condition, without a serious deterioration in health, is not considered to be a serious adverse event (or a non-serious adverse event). For example, a planned hospital admission for clozapine titration where there was no recent decline in mental state would not be logged as an AE/SAE.

Note: In addition to standard SAE definitions consider:

- Are there any events that do not fall into the categories listed but that should be considered as SAEs for the purposes of the trial? E.g. crisis care, suicide attempt, police involvement.

- Are there any events that fall into the categories listed in standard SAE definitions but that should not be considered as SAEs for the purposes of the trial?

Any changes of this type should be agreed and documented before the study starts.

Examples of potential SAEs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

## Is it related?

### Causality

The relationship between the DHI/T and each adverse event will be assessed and categorised using a 2-/3-/5-point scale as defined in Table 2. The investigator will use clinical judgement and consider whether there is evidence to suggest a causal relationship. They will consider the timing of AE onset relative to use of the medical device and consider alternative causes such as the natural history of the participant’s underlying condition, concomitant therapy, other risk factors etc. The Investigator will also consult the current version of the risk analysis report, clinical hazard log Clinical Investigational Plan, protocol and/or the Investigator’s Brochure.

Where there are two assessments of an event, the causality assessment made by the local investigator (NOT the Chief Investigator) cannot be downgraded. In the case of a difference of opinion on causality, both assessments are recorded, and the “worst case” assessment is used for reporting purposes.

Table 2. Scales used to assess the likelihood that an (S)AE is related to an element of the study. Adapted from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0).  [Select the most appropriate scale for your study and delete the other columns]

|  | 2 UK NHS Trust SOPs | 1 UK University SOP | 1 UK NHS Trust SOP | 2 UK study SOPs | 1 US guideline | 1 UK study SOP | 1 UK study SOP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Not related Unrelated Definitely not related | There is no evidence of any causal relationship to the DHI/T | Where relationship to the DHI/T and/or procedure can be excluded. | Temporal relationship of the onset of the event, relative to administration of the product, is not reasonable or another cause can by itself explain the occurrence of the event | There is no evidence of any causal relationship. | The AE is clearly not related to the study procedures (i.e., another cause of the event is most plausible and/or a clinically plausible temporal sequence is inconsistent with the onset of the event). | No relationship with the therapy, research assessment or therapy system. Other factor(s) certainly causative. | No relationship with DHI/T. Other factor(s) certainly or probably causative. |
| Unlikely Probably unrelated Probably not related | The relationship with the use of the DHI/T seems not relevant and/or the event can be reasonably explained by another cause | Where the relationship with the use of the DHI/T seems not relevant and/or the AE can be reasonably explained by another cause, but additional information may be obtained. | Temporal relationship of the onset of the event, relative to administration of the product, is likely to have another cause which can by itself explain the occurrence of the event. | There is little evidence to suggest there is a causal relationship (e.g. the event did not occur within a reasonable time). There is another reasonable explanation for the event (e.g. the patient’s clinical condition, other concomitant treatment). | -- | -- |  |
| Possibly Possible Possibly related | The relationship with the use of the DHI/T is weak but cannot be ruled out completely | Where the nature of the event, underlying medical condition, concomitant medication or temporal relationship make it possible that the AE has a causal relationship to the DHI/T. Cases where relatedness cannot be assessed or no information has been obtained, shall also be classified as possible. | Temporal relationship of the onset of the event, relative to administration of the product, is reasonable but the event could have been due to another, equally likely cause. | There is some evidence to suggest a causal relationship. However, the influence of other factors may have contributed to the event (e.g. the patient’s clinical condition, other concomitant treatments). | An event that follows a reasonable temporal sequence from the initiation of study procedures, but that could readily have been produced by a number of other factors. | Possible relationship with therapy, research assessment or therapy system. Other factor(s) possibly causative. |  |
| Probable Probably related | The relationship with the DHI/T seems relevant and/or the event cannot be reasonably be explained by another cause | Where relationship with use of the DHI/T seems relevant and/or the AE cannot reasonably be explained by another cause, but additional information may be obtained. | Temporal relationship of the onset of the event, relative to the administration of the product, is reasonable and the event is more likely explained by the product than any other cause. | There is evidence to suggest a causal relationship and the influence of other factors is unlikely. | -- | -- |  |
| Related Definitely related Causal relationship | The serious event is associated with the DHI/T beyond reasonable doubt | Where the AE is associated with the DHI/T and/or procedure beyond reasonable doubt | temporal relationship of the onset, relative to administration of the product, is reasonable and there is no other cause to explain the event, or a re-challenge (if feasible) is positive | There is clear evidence to suggest a causal relationship and other possible contributing factors can be ruled out. | The AE is clearly related to the study procedures. | Temporal relationship of the onset of the event, relative to occurrence of therapy, research assessment or therapy system, is reasonable and there is no other cause to explain the event. | Temporal relationship of the onset of the event, relative to use of the DHI/T, is reasonable and there is no other cause to explain the event. |

Recommendations Before the study starts, consider: - How will relatedness be assessed? - Will a 2/3/5 point scale be used to assess relatedness? (see Table 1) - Which specific aspects of the study will relatedness be assessed for? e.g. software, hardware, study assessments, medication, psychological therapy. - Who has independent oversight of relatedness assessment? e.g. Data Monitoring and Ethics Committee (DMEC) Document the decision in relation to each of these question in this section of the SOP.

### Adverse Reaction (AR)

An adverse event judged by either the reporting investigator or the sponsor as having a reasonable possibility of a causal relationship (e.g. definitely, probably or possibly related) to the psychological therapy, study procedure, therapy, other intervention, investigational medicinal product, drug, experiment [delete as applicable] related to any dose or duration of therapy administered to that subject.

Examples of potential ARs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis. See Appendix B for examples].

### Serious Adverse Reaction (SAR)

An adverse reaction (AR) that has resulted in any of the consequences characteristic of a serious adverse event.

Examples of potential SARs in <current study/trial name>:

- [Provide a bullet point list of several examples relevant to the current trial/study. Appendix B lists examples from DHI/T studies in psychosis].

## Is it expected?

Recommendations Before the study starts, researchers should list all expected (S)ARs in this section of the SOP. To do so, they should: - Consult Reference Safety Information, Investigator’s Brochure, Product Information, Summary of Product Characteristics, risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or risk assessment (if available). - If no Reference Safety Information exists yet, consider evidence from previous studies using this specific DHI/T or similar DHI/Ts (e.g. pilot studies, proof of concept studies) when defining expected (S)ARs. - Note that expectedness is assessed in relation to the study intervention/procedures/etc (not the condition). There is no need to assess (S)AEs which are unrelated to the study intervention/procedures/etc. If there are no expected (S)ARs, this should be clearly stated in this section of the SOP.

### Expected ARs and SARs

During the study, to determine whether the (S)AR was expected or unanticipated/unexpected, researchers should compare the (S)AR against the list of expected (S)ARs.

In this study, the following (S)ARs are expected:

- [list all relevant (S)ARs. See Appendix B for examples.

- If there are no expected (S)ARs, state this clearly here instead]

### Suspected Unexpected Serious Adverse Reaction (SUSAR)

A Serious Adverse Reaction which by its nature, incidence, severity or outcome has not been identified prior to the start of the trial in the [Reference Safety Information, Investigator’s Brochure, Product Information, Summary of Product Characteristics, risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or risk assessment] and is not in the list of expected SARs, above.

# 4. Monitoring Adverse Events

## Eliciting Adverse Events

Recommendations In this section, describe: - Adverse events should be monitored for all study participants - When adverse event monitoring will start - When adverse event monitoring will stop - Day-to-day procedures for monitoring and identifying adverse events. - How are spontaneously reported AEs recorded and followed up? - Which research staff will ask about AEs? - How often will research staff ask about AEs? - What questions will they ask? Are open questions used? If so, give details. Is a structured questionnaire used? If so, give details? - Are casenotes checked to pick up additional AEs? - Is further information sought from other sources? E.g. clinical staff. Methods for eliciting/monitoring adverse events are outlined in Appendix C.

[Example 1: For the avoidance of doubt, ALL AE/SAEs should be collected for all trial participants from the time of their enrolment into the study. The time of enrolment is defined as the time at which, following recruitment, a participant signs and dates the informed consent form. In order to ensure active surveillance of harms, at each assessment point, research workers will actively check for the occurrence of specific AEs using a structured checklist. At the completion of the trial, all medical notes will additionally be checked, for the total duration of enrolment, for any previously undisclosed record of AEs. This is to ensure completeness of records and to address the possibility that the disclosure of adverse events might be greater in the active intervention condition, as a result of the therapeutic relationship.

## Training and supervision

Recommendations In this section, describe: - What training research staff will receive in adverse events monitoring and reporting. - What will be done to ensure that adverse events monitoring is kept on the research team’s radar throughout the trial? - Will research staff receive specific ongoing supervision on asking about, documenting and reporting adverse events? - Is adverse events included as a standing agenda item in weekly/monthly team/project meetings? - Does the PI / supervisor regularly ask about adverse events in supervision meetings with research staff? Training recommendations are described in Appendix D

# 5. Reporting Adverse Events

## Adverse Events that do not require reporting

[If there are certain AEs that do not need reporting in this study, list these here and explain why they do not need reporting. Alternatively, state that all AEs/SAES need reporting.]

[Example 1:

There are no AEs or SAES that do not require reporting for this trial.

Example 2:

For clarification, technical glitches such as periodic network outage, other minor technical hitches with the apps, phone loss, phone theft and/or a participant selling the phone are NOT counted as AEs but will be systematically logged in the trial in an excel spreadsheet. If this does, however, result in a decline in mental state (e.g. phone theft as a result of physical assault) then this will be recorded as an adverse event and the phone theft coded as the trigger (as opposed to the AE itself).]

## Reporting flowchart

[Include a reporting flowchart summarising all reporting requirements for SAEs. An example is included in Appendix F.]

## All Adverse Events

Check whether the AE is classified in the protocol as not needing to be recorded. Otherwise, proceed as follows.

- All adverse events should be recorded, initially, on the adverse events Report Form [see Appendix E for an example] by whoever has identified the event.

- The adverse events Report Form should then be shared with the Chief Investigator, or a delegated individual, who makes an assessment as to whether the event is defined as serious, related and expected, using the definitions in Section 3, and in consultation with both the Protocol and Investigator’s Brochure.

- Once agreement has been reached on the status of the event, the Trial Manager or a delegated individual will then enter information from the Adverse Event Report Form on to the electronic Adverse Events Log [see Appendix E for an example] for later analysis.

- The reporting procedure described below will then be followed, as applicable.

## Non-serious Adverse Events

If the event is defined as non-serious, there is usually no need to report the AE externally. [If applicable, add details of circumstances where non-serious AEs would need reporting in the current study].

## Serious Adverse Events

Recommendations Outline reporting procedures for reporting SAEs in this section. Specific reporting requirements for SAEs will depend on several factors including: - Study design (e.g. whether it is an RCT) - Digital tool to be tested (e.g. whether it is a Medical Device) - Country - Study sponsor - Study funder You should consult the appropriate guidance to ensure that the following sections outline all reporting requirements specific to your study. If the study DHI/T is registered as a medical device, there may be additional reporting requirements. Depending on the study type and location, SAEs may need to be reported to some or all of the following: - Study sponsor - Research Ethics Committee / Institutional Review Board / equivalent - The study Data Monitoring Ethics Committee (DMEC) - Regulatory agency (e.g. MHRA, FDA) - Other Where possible, reporting of SAEs should maintain blinding of individual clinicians and of trial staff involved in the day-to-day running of the trial. For example, the sponsor, project manager, or staff working on a separate trial might gather information required to classify the AE to avoid un-blinding study staff. However, the safety of participants in the trial always takes priority and un-blinding clinicians may be unavoidable if the information is necessary for clinical management purposes.

### Reporting to the Sponsor

Recommendations Outline the reporting requirements in relation to the study sponsor. Include the following details: - Who should send the report to the sponsor. - Specific categories of SAE to be reported (e.g. all SAEs, only SARs, only SUSARS) - How soon SAEs must be reported (e.g. within 24 hours of the investigator becoming aware) and any variation in timescale for different types of SAE. - Whether any additional events need to be reported that are not SAEs (e.g. device deficiencies that might have led to and SAE in other circumstances) - Which form must be used to report to the sponsor, who needs to sign it (usually the CI), and the contingency plan if the CI is unavailable. - Any variations in the reporting procedure at particular study sites (e.g. delegation to a PI).

[Example 1:

All serious adverse events should be reported to the Sponsor within 24 hours of the Investigator becoming aware of the event. These include serious events which are:

- Related to the device and those which are non-device related;

- Anticipated and unanticipated serious events;

- Device Deficiencies that might have led to a serious adverse event if: suitable action had not been taken or, intervention had not been made or, if circumstances had been less fortunate.

SAEs are reported using the Serious Adverse Event Report Form [see Appendix E for an example]. Where the Chief Investigator is not available to sign the SADE form the study team should not delay in sending the SADE report to the sponsor. A copy of the original submitted form signed by the CI must be forwarded as soon as possible. The following information should also be provided to the sponsor when notifying of an SAE:

- The number of participants recruited

- The number of app users

- Where applicable, the date the participant started using the App.]

### Follow up reports and resolution of SAEs

[Outline procedures for following up SAEs which have not yet been fully resolved].

[Example 1:

SAEs should be followed up until resolution where possible and reasonable. In the event we receive follow up information about an SAE and its resolution it should be noted on the event report form and shared with the sponsor in a timely manner. Such reports should be identified as follow up reports on the report form. The Trial Manager will similarly update the eCRF entry with any follow up data. It is recognised that determining SAE resolutions may not be straightforward due to the ongoing nature of many psychosis experiences and it is therefore common to use the ‘resolved with sequelae’ categorisation.

Example 2:

- SAEs will be followed-up by the research team after a period of 2 weeks. The research team will meet up to identify if further action needs to be taken.

- SAEs that are ongoing at the end of a participant’s involvement in the study should be followed up as detailed in the protocol, or for 30 days if this is not specified

- Where indicated in the protocol, or as clinically appropriate, follow-up of the long-term outcome of a particular SUSAR may be performed. In such cases, full details should be recorded in the participant medical records and study master file.]

### Reporting to the Research Ethics Committee

Recommendations Define specific reporting procedures for current study in relation to the Research Ethics Committee, Institutional Review Board or equivalent. Include the following details: - Who should make the report. - Specific categories of SAE to be reported (e.g. all SAEs, only SARs, only SUSARS) - How soon SAEs must be reported (e.g. within 24 hours of the investigator becoming aware) and any variation in timescale for different types of SAE. - Whether any additional events need to be reported that are not SAEs (e.g. device deficiencies that might have led to and SAE in other circumstances) - Which form must be used to report to the REC, who needs to sign it (usually the CI), and the contingency plan if the CI is unavailable. - Any variations in the reporting procedure at particular study sites (e.g. delegation to a PI).

[Example:

USADES will be submitted by the Sponsor to the XXX NHS Research Ethics Committee within 15 days of the CI becoming aware of the event.]

### Reporting to a regulatory agency

[Medical Device studies require reports to the relevant regulatory agency (e.g. MHRA in the UK). Exact details of what needs to be reported may vary depending on the regulatory agency so you should consult their guidance and outline all necessary procedures here.]

[Example:

Regulation 16(10)(a) of the Medical Devices Regulations 2002 (SI 618) and Annex X of the Medical Devices Directive 93/42 requires we fully record all adverse events and report all serious adverse events.

Reports will be made by the study sponsor acting on behalf of the Manufacturer using the template specified in MEDDEV 2.7/3. These reports will include the number of investigational devices currently in use (provided by the Trial manager in the event of an SAE).

Reports should be made by the Sponsor to MHRA within the following time periods:

- SAEs that indicate the death of a participant, an imminent risk of death, serious injury, or serious illness that requires prompt remedial action for other participants, users or other persons, or a new finding relating to a previously reported SAE of this seriousness must be reported to the MHRA no more than 2 calendar days following awareness of the event by the sponsor.

- Other reportable events not described above or follow up information relating to those events must be reported to the MHRA within 7 days of the sponsor becoming aware of the event.

In addition to the reporting of individual serious adverse events to MHRA, as detailed above, The Sponsor acting on behalf of the manufacturer, should provide summary reports of all serious adverse events across sites every three months. Summary reports should include the following information in tabular form:

- Number of serious adverse events in that report period.

- Number of participants affected by those events.

- Percentage of the total number of enrolled participants affected by those events.]

### Device deficiencies (if applicable)

[If the study involves a medical device, outline reporting procedures for device deficiencies in this section. Check all relevant guidelines (regulatory agency, sponsor, Research Ethics Committee (Institutional Review Board, etc.) to determine the correct procedure].

[Example 1: Device deficiencies, which are not considered to be contributory toward SADEs shall be noted by any member of the research team and notified to the Trial Manager. The Trial Manger is responsible for reporting Device Deficiencies to the Sponsor using the Device Deficiency Report [see Appendix E for an example] within 24 hours of becoming aware of it.

- Submitted Device Deficiency Report forms will be uploaded to the eCRF by the Trial Manager or a delegated individual.

- The Sponsor will report any device deficiencies to the manufacturer within 24 hours of being notified who will handle the issue according to their own procedures.

- Any new device deficiencies identified, which were not considered in the initial risk analysis, will be added to the risk analysis and to the Investigators Brochure.]

### Other reporting

[Outline any other specific reporting procedures for the study (e.g., expedited reporting, urgent safety measures, incident reporting).]

# 6. Reporting adverse events in publications and reports

Recommendations Outline how the AEs will be analysed and reported in study outputs. - Consider whether AEs will be presented using descriptive statistics only or whether any inferential statistics are appropriate. - Although it is standard practice to report AEs using descriptive statistics alone, methodologists have recently begun developing more nuanced ways of analysing (e.g., Phillips et al, 2020) and visualising (e.g., Phillips et al, 2021) AEs in clinical trials, accounting for the relative infrequency of AEs and the likelihood of bias towards AE reporting in the intervention arm of an RCT. For RCTs: Report AEs in the main study outcome paper in line with CONSORT extension for reporting harms (10-item checklist; https://www.equator-network.org/reporting-guidelines/consort-harms/).

[Example:

For the final reports of the trial, the numbers, types and severity of AEs by trial condition, as well as discontinuations, will be reported, using descriptive statistics. Since there are no pre-specified hypotheses concerning adverse events or harms, and, given the expected low frequency of AEs, the data will not be suitable for an ITT statistical analysis. Adverse events will be reported in line with CONSORT extension for reporting harms.]

# Appendix A: Relevant Regulations and Guidelines

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

| Country/Region | Resources |
| --- | --- |
| Worldwide |  |
| Worldwide | - ISO 14155 (Clinical investigation of medical devices for human subjects — Good clinical practice) http://www.iso.org/iso/catalogue_detail?csnumber=45557 |
|  | - Deploying digital health tools within large, complex health systems: key considerations for adoption and implementation https://www.nature.com/articles/s41746-022-00557-1 |
|  | - Global strategy on digital health 2020-2025 https://www.who.int/docs/default-source/documents/gs4dhdaa2a9f352b0445bafbc79ca799dce4d.pdf |
| Europe |  |
|  | - General Data Protection Regulation (GDPR): https://gdpr.eu/ |
| European Union (EU) | - European Regulation on Medical Devices: https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX%3A32017R0745 |
|  | - European Commission Medical Devices Guidance Document (MEDDEV 2.12-1 rev 8) http://www.cepartner4u.com/wpdm-package/meddev-2-12_1-vigilance-system/ |
| Germany | - Federal Institute For Drugs and Medical Devices: https://www.bfarm.de/EN/Medical-devices/Applications-and-reports/SAE-report/Clinical-investigation/_artikel.html |
| England & UK |  |
| England | - Evidence standards framework for digital health technologies: user guide https://www.nice.org.uk/about/what-we-do/our-programmes/evidence-standards-framework-for-digital-health-technologies |
|  | - UK GDPR Guidance https://ico.org.uk/for-organisations/uk-gdpr-guidance-and-resources/ |
|  | - Digital Clinical Safety Strategy https://transform.england.nhs.uk/key-tools-and-info/digital-clinical-safety-strategy/ |
|  | - Digital Technology Assessment Criteria: https://transform.england.nhs.uk/key-tools-and-info/digital-technology-assessment-criteria-dtac/ |
| United Kingdom (UK) | - Health Research Authority - Safety Information http://www.hra.nhs.uk/research-community/during-your-research-project/safety-reporting/ |
|  | - A guide to good practice for digital and data-driven health technologies https://www.gov.uk/government/publications/code-of-conduct-for-data-driven-health-and-care-technology/initial-code-of-conduct-for-data-driven-health-and-care-technology |
|  | - MHRA - Medical devices: guidance for manufacturers on vigilance: https://www.gov.uk/government/collections/medical-devices-guidance-for-manufacturers-on-vigilance |
| Asia |  |
| India | - Indian Pharmacopeia Commission https://www.ipc.gov.in/ |
|  | - Pharmacovigilance Programme of India (PvPI) https://www.ipc.gov.in//PvPI/pv_home.html |
| America |  |
| United States | - Food and Drug Administration (Medical Devices content): https://www.fda.gov/medical-devices |

# Appendix B: Examples of Adverse Events

Examples of Adverse Events

- Participant has a non-life threatening accidental injury (e.g. participant breaks leg, participant startled/surprised and sustains minor injury from reaction (back sprain)).

- Non-life threatening self-harm (e.g., goes to reservoir with intention to walk in; goes to multi-storey car park with intention to jump – but is diverted/changes mind).

- Participant presents to an Accident & Emergency department, is examined/ treated, but not admitted.

- Participant threatens significant harm to a family member.

- Participant reported a plan to end their life.

Examples of Adverse Reactions [or, if related to a medical device, Adverse Device Effects]

- Participant states that the questions asked during an assessment were upsetting, which led the assessment being stopped early.

- Participant has a panic attack as a result of talking about past experiences when they were asked what they felt caused them to experience psychosis.

- Participant becomes paranoid as a result of inputting information about symptoms into the app.

- App stops working and participant becomes distressed and requires additional support from a member of the care team.

Examples of Serious Adverse Events

- Participant is involved in a car accident/ other incident and requires surgery.

- Participant experiences physical health change which requires an inpatient stay on a medical ward (e.g., pregnancy complication; Norovirus infection; injury following seizure brought on by drug misuse).

- Participant has medication changed, which results in increased symptoms and re-hospitalisation.

- Participant takes an overdose and presents themselves to A&E and is admitted to hospital, but this is not judged to be related to study procedures or interventions.

- Participant is admitted to a psychiatric inpatient unit.

- Clinic staff called police who took patient to hospital due to increased aggression.

- Participant died due to medical problems.

- Participant died by suicide.

Examples of SUSARS [or, if related to a medical device, Unanticipated Serious Adverse Device Effects]

- Participant experiences increased paranoia as a result of inputting information about symptoms into an app, which results in presentation to A&E/hospitalisation.

- Participant becomes distressed as a result of participating in an assessment about their experiences and as a direct result, self-harms and is admitted to hospital.

# Appendix C: Methods for eliciting/monitoring Adverse Events

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

| Method for eliciting AEs | Summary of best practice |
| --- | --- |
| 1. Record spontaneously reported AEs | Research staff receive training and supervision to recognise and record AEs mentioned by participants spontaneously (e.g. during therapy sessions or in passing during conversations) and seek additional information needed to determine seriousness and relatedness. |
| 2. Record AEs elicited during study questionnaires or interviews | Research staff are aware of specific study assessments (questionnaires or interviews) that may elicit AE reports. They know what AE information to record and what follow up information to seek as needed. For example, the following types of assessments may elicit AEs: - Assessments of participants’ mental or physical health; - Assessments asking use of healthcare services; e.g. health economics assessments, or hospital admissions assessed as an outcome. - Qualitative interviews asking about experiences of using a digital intervention; - Assessments of suicidal ideation and/or harm to self or others. |
| 3. Screen casenotes for AE reports | Research staff screen participant casenotes for evidence of AEs and seek further information as needed from clinical staff or participants. The research team would first need to seek formal consent from participants (e.g. on study entry) to access casenotes for this purpose. |
| 4. Ask the clinical team about AEs | Research staff gather information from relevant clinicians about whether AEs have occurred. This may be embedded in regular meetings already happening with the clinical team (e.g. clinical liaison meetings or follow-up assessments with staff), or researcher may contact staff specifically to seek information about AEs. |
| 5. Ask open question(s) about whether the participant has experienced any AEs | Researchers ask specific question(s) to elicit AEs at each study contact. Researchers may wish to involve PPI colleagues or lived experience researchers in deciding specific question(s) to ensure they are pertinent and acceptable. As examples, one or more of the following questions might be used: - Have you had any concerns about <DHI/T name>? If so, what concerns? - Have you had any unwanted experiences while using <DHI/T name>? - Did using <DHI/T name> have any negative impact on your mental well-being and/or physical health? If so, what was the impact? - Did using <DHI/T name> cause you any other issues or problems? If so, what issues or problems did the app cause for you? - Have you had any concerns about taking part in the study? If so, what concerns? - Have you been admitted to hospital since we last spoke? What led up to this? If AEs are reported, the researcher will ask follow up questions as appropriate to assess seriousness and relatedness. |
| 6. Use a structured checklist or questionnaire to monitor AEs | At each assessment point, researchers actively check for the occurrence of specific AEs using a questionnaire or structured checklist. Example structured checklist used by researchers in one UK study: - Physical, death, self-harm, serious violent incidents (victim), serious violent incidents (accused), referrals to crisis care, admission to psychiatric hospital during therapy, other. Example questionnaire from a UK study (completed via online survey software): - Did using <DHI/T name> have any negative impact on your mental well-being and/or physical health? If so, what was the impact? - Did using <DHI/T name> cause you any other issues or problems? If so, what issues or problems did the app cause for you? |

# Appendix D: Training and supervision recommendations

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

| Recommendation | Summary of best practice |
| --- | --- |
| 1. Provide AE training for research staff | All research staff (research assistants, research therapists, etc.): - Attend GCP training; - Read the study-specific AE SOP; - Attend a training session covering the overarching principles of AE monitoring/reporting and key points from the study-specific AE SOP. This may include: - AE definitions; - How AEs will be elicited and recorded in this study; - Examples of AEs to look out for in this specific study; - Particular study assessments to be aware of that may elicit AEs; - Follow-up information that may be needed to classify AE seriousness and relatedness; - Any events that usually considered AEs but exempted in this particular study context; - Responsibilities of individual staff members in relation to AEs; - How to monitor AEs while maintaining the blind (in a blinded RCT); - Formal AE reporting requirements and who carries this out. This formal training is then embedded and reinforced during interactions with study PI and other members of the research team. |
| 2. Provide ongoing supervision for research staff in relation to AE procedures | - AE monitoring is a standing item on the agenda in research staff supervision sessions (individual and group supervision). - Research staff are asked to bring in all suspected AEs for discussion during supervision. Discussions may include how to categorise a particular AE, whether any additional information is needed, next steps for recording and reporting, etc. - Any relevant changes to the AE procedure or any learning points from the wider study team are passed on to research staff in supervision sessions. |
| 3. Include AEs as a standing item on team meeting agendas | - AE monitoring and reporting is standing item on the agenda in team meetings. This can apply across various levels of the project’s organisational structure – e.g. local site meetings, multi-site trial coordinator meetings, clinical trial management committee meetings. - Depending on the study design and specific meeting type, this may need to be a blinded agenda item – i.e. blinded research staff leave the meeting for the duration of the AE-related discussion. - Research staff bring suspected AEs for discussion with the rest of the team. The level of detail of this discussion will depend on the context of the meeting itself but may include how to categorise a specific AE (e.g. borderline cases), whether any additional information is needed, next steps for recording and reporting, etc. - Any relevant updates or learning points are shared. For example, changes to the AE procedure, learning points from other study sites, updates from the wider study team, or comments from DMEC report. |

# Appendix E: Example report forms and logs

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

## Adverse Event report form

<Current study/trial name> Adverse Events report form

Please return completed reports to [insert name], [insert email address]

| Details of Chief Investigator |  |  |
| --- | --- | --- |
| Name: |  |  |
| Address: |  |  |
| Email: |  |  |
| Details of the Study |  |  |
| Full title of the study: |  |  |
| Name of REC/IRB: |  |  |
| REC/IRB reference number: |  |  |
| IRAS ID: |  |  |
| Research sponsor: |  |  |

| Study Information |  |  |  |
| --- | --- | --- | --- |
| Protocol Number: |  | Participant ID: |  |
| Site Name: |  | Event reported by/submitter: |  |

| Adverse Event |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NOTE: clinically significant abnormal lab results should be considered AEs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Report: |  |  |  | ____/____/______ DD MM YYYY |  |  |  |  |  |  |  |  | Type of Report: |  |  |  |  |  | ☐ Initial ☐ Follow Up #_____ |  |  |  |  |  |  |
| Adverse Event Term: [e.g. SAE, AE, AR] |  |  |  | ___________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date and time of Onset of Symptoms/Start of AE: |  |  |  | ____/____/______ DD MM YYYY |  |  |  |  |  |  |  |  |  | _____:_____ HH : MM |  |  |  |  |  |  | ☐Time unknown |  |  |  |  |
| Resolution date and time: |  |  |  | ____/____/______ DD MM YYYY |  |  |  |  |  |  |  |  |  | _____:_____ HH : MM |  |  |  |  |  |  | ☐Time unknown |  |  |  |  |
| Initial Date Reported to Sponsor: |  |  |  | ____/____/______ DD MM YYYY |  |  |  |  |  |  |  |  |  | Date and time PI Aware of AE: |  |  |  |  |  |  | ____/____/______ DD MM YYYY _____:_____ HH : MM |  |  |  |  |
| Participant Outcome: |  |  |  |  | Resolved [recovered] |  |  |  |  |  |  |  |  | ☐ |  | Death |  |  |  |  |  |  |  | ☐ |  |
|  |  |  |  |  | Resolved [recovered] with sequelae |  |  |  |  |  |  |  |  | ☐ |  | Unknown |  |  |  |  |  |  |  | ☐ |  |
|  |  |  |  |  | Ongoing [not recovered/resolved] |  |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |
| Action Taken – Participant: |  |  |  | Continued Study |  |  |  |  |  |  |  |  |  | ☐ |  |  | Discontinued Study |  |  |  |  |  |  | ☐ |  |
| If discontinued, was it due to this AE? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  | ☐ |  |  | No | ☐ |  |
| Seriousness Classification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Serious Adverse Event: |  |  |  |  |  | Yes ☐ No ☐ |  |  |  |  | If Yes, report to Sponsor within [x hours/days] and complete Seriousness criteria section below If No, do not complete Seriousness Criteria section below |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Seriousness Criteria: (please tick at least one box and provide additional information if required for that criterion) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Death | Date: | ____/____/______ DD MM YYYY |  |  |  |  |  |  | Cause: |  |  |  |  | ___________________________________ |  |  |  |  |  |  |  |  |  |
| ☐ | Life threatening illness or injury |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Permanent impairment of a body structure or a body function (disability or incapacity) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Medical or surgical intervention to prevent life-threatening illness or injury or permanent impairment to a body structure or a body function (disability or incapacity) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | In-patient / Prolonged Hospitalisation: |  |  |  |  |  | Admit Date: |  | ____/____/______ DD MM YYYY |  |  |  |  |  |  |  |  | Disch. Date: |  |  |  | ____/____/______ DD MM YYYY |  |  |
|  | Related to: |  |  |  |  |  | ☐ |  | Mental health |  |  |  |  |  |  |  |  | ☐ |  |  |  | Physical health |  |  |
| ☐ | Led to foetal distress, foetal death or a congenital abnormality or birth defect |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Other (Please Specify): |  |  |  |  |  |  | _____________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Causality, Severity, and Expectedness [delete/include specific rows as relevant to the study] |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Relationship to medical device: | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to digital health intervention/tool (software related): | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to study hardware (phone handset, network): | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to Study Procedure: | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to Therapy: | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to Research Assessment: | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Relationship to Remote Delivery | Not Related | ☐ | Unlikely |  | ☐ | Possibly |  | ☐ | Probably | ☐ |  | Definitely | ☐ |
| Severity Grade: |  |  |  | Mild |  |  | ☐ | Moderate |  |  | ☐ | Severe | ☐ |
| Expectedness: |  |  |  | Anticipated |  |  | ☐ | Unanticipated |  |  | ☐ |  |  |

| Event Narrative (provide a description of the event) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (e.g. onset of symptoms, treatment, medications, outcome, reason for causality assessment) |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| Relevant Medical History: (please state any relevant pre-existing conditions) |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| _________________________________________________________________________________ |  |  |  |  |  |  |  |
| Where did the event take place? |  |  |  |  |  |  |  |
| In therapy | ☐ | At home | ☐ | [insert other study/trial information here] | ☐ | Other | ☐ |

Details of team discussion:

(To include date of discussion, who was present and decision)

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

Guidance from Study Oversight Committee (e.g. Data Monitoring and Ethics Committee)

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

Follow-up (if not resolved at time of completing from)

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

| Investigator Signature: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date (dd/mm/yyyy) |  |
|  | Date reported to sponsor/REC: |  |  |  |  |  |

## Device Deficiency form

Please return completed reports to [name and contact details that form should be sent to for this study]

| Study Information |  |
| --- | --- |
| Protocol Number: |  |
| Investigational Device Name: |  |
| Investigator Name: |  |
| Site Name: |  |

| Participant & Device Information |  |
| --- | --- |
| Participant ID: |  |
| Device Available for Evaluation? |  |

| Incident Information |  |
| --- | --- |
| Performance endpoint: |  |
| Type of Incident: | ☐ Device Malfunction |
|  | ☐ Manufacture Defect |
|  | ☐ Labelling (insufficient / inadequate instructions) |
|  | ☐ Use Error |
|  | ☐ Procedure (deployment, implantation, installation) |
| Did the incident result in an Adverse Device Effect (ADE)? (see section 3 for definition) | ☐Yes ☐No If Yes, please record: ADE term: ___________________________________ Onset date: ___________________ |
| If there was an ADE, was the incident Serious? | ☐ Yes – complete the Safety Event Report Form and return to the PV office ☐ No – record the incident in the CRF / eCRF only |
| Could this incident have led to an SAE if suitable action had not been taken, or intervention had not been made or circumstances had been less fortunate? | ☐Yes – complete the “Incident that may have led to an SAE” Section ☐ No |
| Detailed Description of Incident: Please Complete For All Device Deficiencies (Attach separate sheets if necessary) |  |

| Incident that May Have Led to an SAE |  |
| --- | --- |
| Date and Time of Event Onset: |  |
| Action / Treatment / Outcome: |  |
| Related to Procedure: | ☐Related |
|  | ☐Not related |
|  | ☐Possibly related |
| Related to Investigational Device: | ☐Related |
|  | ☐Not related |
|  | ☐Possibly related |
| Event Status: | ☐Resolved |
|  | ☐Resolved with Sequelae |
|  | ☐Ongoing |
|  | ☐Death |
|  | ☐Unknown |
| Date and Time of Event Resolution: |  |
| Date reported to Sponsor/REC: |  |

| Investigator Signature: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date (dd/mm/yyyy) |  |

## Adverse Event log

Please only enter one AE per row. Please ensure all sections are completed or item selected

| Event No. | Briefly Describe the Adverse Event | Start Date (DD/MM/YY) | End Date (DD/MM/YY) | Seriousness |  | Causality |  |  | Expectedness | Severity | Action Taken | Outcome |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Is this a SAE (Yes/No) | Seriousness criteria | Related to study hardware | Related to study software | Related to study procedure |  |  |  |  |
|  |  |  |  | Yes* No | Death Life threatening illness or injury Permanent impairment of a body structure of body function (disability or incapacity) Medical or surgical intervention to prevent life-threatening illness or injury of permanent impairment to a body structure of body function (disability or incapacity) In-participant/prolonged hospitalisation Led to foetal distress, foetal death or a congenital abnormality or birth defect Other (specify) | Not related Unlikely related Possibly related Probably related Definitely related |  |  | Anticipated Unanticipated | Mild Moderate Severe | Continued study Discontinued study If discontinued, was it due to this AE? Yes/No | Resolved (recovered) Resolved (recovered) with sequalae Death Unknown |

*If yes, report to [add details of who to report to. E.g., sponsor and Research Ethics Committee]

[If using a scale to assess relatedness, add the definitions of each point on the scale here. See Table 2 for scales. For example:

Not related– temporal relationship not reasonable or event explained in isolation by another cause 
Unlikely related – temporal relationship unlikely or event likely to be explained by another cause 
Possibly related – temporal relationship is reasonable but event could be due to another equally likely 
Likely related– temporal association is reasonable and event is more likely to be due to study intervention than other cause

Definitely related– temporal relationship is reasonable and there is no other cause to explain event, or re‐challenge is positive ]

# Appendix F: Example reporting flowchart

Example reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

The original flowchart was from the EMPOWER study adverse events SOP (unpublished). For EMPOWER protocol and outcome papers, please see: Gumley et al, 2020; Gumley et al, 2022; Gumley et al, 2022.

SOP, Standard Operating Procedure; SADE, Serious Adverse Device Effect; SAE, Serious Adverse Event; eCRF, electronic Case Report Form; CI, Chief Investigator; MHRA, Medicines and Healthcare products Regulatory Agency; DMEC, Data Monitoring and Ethics Committee; USADE, unanticipated serious adverse device effect; REC, Research Ethics Committee.

# Appendix G: Example declaration by research staff form

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

I confirm that I have read the document entitled “Standard Operating Procedures for adverse events in the <current study/trial name>”, produced and maintained by the research Group.

| Study Personnel (PRINT) | Signature | Initials | SOP version | Date |
| --- | --- | --- | --- | --- |

I confirm that the above noted individual(s) are appropriately qualified to perform the delegated standard operating procedure.

Head of Research Unit:

# Appendix H: Glossary of Terms

Reproduced from Eisner et al, 2024 (Creative Commons licence CC-BY 4.0)

| Term | definition |
| --- | --- |
| adverse device effect (ADE) | Adverse event that is deemed to be related to the use of an Investigational Medical Device. This definition includes adverse events resulting from insufficient or inadequate instructions for use, deployment, [implantation], installation, or operation, or any malfunction of the Investigational Medical Device. This definition includes any event resulting from use error or from intentional misuse of the Investigational Medical Device. Use error refers to an act or omission of an act that results in a different device response than intended by the manufacturer or expected by the user |
| adverse event (AE)2 | An unexpected medical problem that happens during treatment with a drug or other therapy. Adverse events may be mild, moderate, or severe, and may be caused by something other than the drug or therapy being given. |
| adverse reaction (AR) 2 | Any adverse event judged by either the reporting investigator or the sponsor as having a reasonable causal relationship (e.g. definitely, probably or possibly related) to an investigational psychological therapy or other intervention, [investigational medial product, or study procedure] related to any dose or duration of therapy administered to that subject. |
| anticipated serious adverse device effect (ASADE) 2 | A serious adverse device effect which by its nature, incidence, severity or outcome has been previously identified in the risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or the Investigator’s Brochure. [state whether or not any ASADEs are expected in the current study/trial]. |
| causality | Determining the relationship between the suspect product (i.e., drug, device, therapy, intervention), and an adverse event. |
| chief investigator (CI) | The lead researcher for a research project (responsible for the conduct of the whole project). |
| CLINICAL TRIAL | A research project that compares two or more treatments in patients with a particular condition or at risk of a condition to help generate high quality evidence about which is the more effective treatment or preventative strategy. |
| Data Monitoring and Ethics Committee (DMEC) | To safeguard the interests of trial participants, monitor the main outcome measures including safety and efficacy, and monitor the overall conduct of the study/trial. |
| DIRECTORATE GENERAL OF HEALTH SERVICES (india) | A repository of technical knowledge concerning Public Health, Medical Education and Health Care. |
| DRUGS CONTROLLER GENERAL (INDIA) | The head of department of the Central Drugs Standard Control Organization of the Government of India responsible for approval of licences of specified categories of drugs such as blood and blood products, IV fluids, vaccines, and sera in India. |
| Expert by experience | People with experience of using services as either a service user or a carer who are interested in undertaking research activities. |
| investigator’s brochure | A compilation of the clinical and nonclinical data on the investigational product(s) that are relevant to the study of the product(s) in human subjects. Its purpose is to provide the investigators and others involved in the trial with the information to facilitate their understanding of the rationale for, and their compliance with, many key features of the protocol, such as the dose, dose frequency/interval, methods of administration: and safety monitoring procedures. |
| Medical device/ investigational medical device | A medical device can be any instrument, apparatus, implement, machine, appliance, implant, reagent for in vitro use, software, material or other similar or related article, intended by the manufacturer to be used, alone or in combination for a medical purpose. A medical device being assessed for safety or performance in a clinical investigation. This includes medical devices already on the market that are being evaluated for new intended uses, new populations, new materials or design changes. |
| Peer researcher | People with lived experience of the issues being studied take part in directing and conducting the research. |
| principal researcher (PI) | The person(s) in charge of a clinical trial or a scientific research grant. The principal investigator prepares and carries out the clinical trial protocol (plan for the study) or research paid for by the grant. The principal investigator also analyses the data and reports the results of the trial or grant research. |
| serious adverse event (SAE) 2 | An adverse event is defined by as serious if it: - Results in death or, - Is a life-threatening illness or injury or, - Requires [voluntary/involuntary] hospitalisation or prolongation of existing hospitalisation or, - Results in persistent or significant disability or incapacity or, - Medical or surgical intervention required to prevent any of the above, - Leads to foetal distress, foetal death or consists of a congenital anomaly or birth defect or, - Is otherwise considered medically significant by the investigator. |
| sponsor | A person, company, institution, group, or organization that oversees or pays for a clinical trial and collects and analyses the data. |
| suspected unexpected serious adverse reaction (SUSAR) 2 | An adverse event that is judged to be all of the following: - Serious (see SAE definition) - Possibly, probably or definitely related (see AR definition) - Unexpected (see UAR definition) |
| unanticipated serious adverse device effect (USADE) 2 | Serious Adverse Device Effect which by its nature, incidence, severity or outcome has not been identified in the current version of the risk analysis report, clinical hazard log, Clinical Investigational Plan, protocol, or the Investigator’s Brochure. |

The researchers should update the table with the specific Adverse Event definitions used in their study